Checklist of E/OHS Activities for Confined Space Entry

Program Contact Person:  Jo Pyle					

Is the Confined Space Entry Plan in place?  Yes  No N/A

Is the Plan current?  Yes  No N/A

Has the Plan been reviewed this school year?  Yes  No N/A

Have confined space areas been identified?  Yes  No N/A

Have measurements to include CCI/ft been completed?  Yes No N/A

Are permit entry forms in place?  Yes  No N/A

	Location:  Activities Manual	

Are confined space labels in the proper locations?  Yes  No N/A

Is a list of employees eligible to enter confined spaces complete?  Yes  No N/A

Has training for affected employees completed?  Yes No

[bookmark: _GoBack]	Date of completion: 3/1/2017 	

Note: Confined space entry activities at this school are limited to licensed contractors only. School staff does not enter confined space areas.
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Confined Space Inventory



Building: Tracy Elementary School



Building Contact:	 Jo Pyle	Program Contact:	Brian Parrie	



Date: 		1/29/18	



		

Room Identification

Name Given Space

		

Opening

Dimension



		

Dimension

Of Confined Space



		

Potential

 Hazards



		

Permit/

Non-Permit/Alternate

		

Labeled

		

Photo

ID #



		Boiler Room

		18”

		7’X3’X3.5’

		ES, Ax, T

		Permit

		Yes

		



		Boiler #1

		

		

		

		

		

		



		Boiler Room

		18”

		7’X3’X3.5’

		ES, Ax, T

		Permit

		Yes

		



		Boiler #2

		

		

		

		

		

		



		

		

		

		

		

		

		



		

		

		

		

		

		

		



		

		

		

		

		

		

		



		

		

		

		

		

		

		



		

		

		

		

		

		

		



		

		

		

		

		

		

		



		

		

		

		

		

		

		



		

		

		

		

		

		

		



		

		

		

		

		

		

		



		

		

		

		

		

		

		



		

		

		

		

		

		

		



		

		

		

		

		

		

		



		

		

		

		

		

		

		



		

		

		

		

		

		

		







	Confined Space Potential Hazard Key



Explosive / Flammable Atmospheres	EF

Toxic Atmospheres	T

Engulfment	E

Asphyxiation	Ax

Entrapment	En

Slips and falls	SF

Chemical Exposure	C

Electric Shock	ES

Thermal/Chemical Burns	TC

Noise and Vibration	NV

Limited Entry	LE

Atmospheric	A










image1.emf
  Confined Space Inventory     Building:   Tracy High School       Building Contact:   Jo Pyle   Program Contact :   Brian Parrie       Date:     1/29/18      

  Room  Identification   Name Given  Space    Opening   Dimension      Dimension   Of  Confined  Space      Potential     Hazards      Permit /   Non - Permit/Alternate    Labeled    Photo   ID #  

Boiler Room  18”  7’X3’X3.5’  ES, AX, T  Permit  Yes   

Boiler #1  

Boiler Room  18”  7’X3’X3.5’  ES, AX, T  Permit  Yes   

Boiler #2  

Boiler Room  4’X15’  100’X15’X4’  T, ES  Non - permit  Yes   

Tunnel  

(2) Chimney   Stacks  18”X  18”  30” round  X 24’ high  T,  Particulate  matter  Permit  No   

 

       

 

       

 

       

 

       

 

       

 

         

Confined Space Potential Hazard Key

 

 

Explosive / Flammable Atmospheres EF 

Toxic Atmospheres T 

Engulfment E 

Asphyxiation Ax 

Entrapment En 

Slips and falls SF 

Chemical Exposure C 

Electric Shock ES 

Thermal/Chemical Burns TC 

Noise and Vibration NV 

Limited Entry LE 

Atmospheric A 
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Confined Space Inventory



Building: Tracy High School 



Building Contact:	Jo Pyle	Program Contact: Brian Parrie	



Date: 	1/29/18	



		

Room Identification

Name Given Space

		

Opening

Dimension



		

Dimension

Of Confined Space



		

Potential

 Hazards



		

Permit/

Non-Permit/Alternate

		

Labeled

		

Photo

ID #



		Boiler Room

		18”

		7’X3’X3.5’

		ES, AX, T

		Permit

		Yes

		



		Boiler #1

		

		

		

		

		

		



		Boiler Room

		18”

		7’X3’X3.5’

		ES, AX, T

		Permit

		Yes

		



		Boiler #2

		

		

		

		

		

		



		Boiler Room

		4’X15’

		100’X15’X4’

		T, ES

		Non-permit

		Yes

		



		Tunnel

		

		

		

		

		

		



		(2) Chimney Stacks

		18”X  18”

		30” round X 24’ high

		T, Particulate matter

		Permit

		No

		



		

		

		

		

		

		

		



		

		

		

		

		

		

		



		

		

		

		

		

		

		



		

		

		

		

		

		

		



		

		

		

		

		

		

		



		

		

		

		

		

		

		



		

		

		

		

		

		

		



		

		

		

		

		

		

		



		

		

		

		

		

		

		



		

		

		

		

		

		

		



		

		

		

		

		

		

		







	Confined Space Potential Hazard Key



Explosive / Flammable Atmospheres	EF

Toxic Atmospheres	T

Engulfment	E

Asphyxiation	Ax

Entrapment	En

Slips and falls	SF

Chemical Exposure	C

Electric Shock	ES

Thermal/Chemical Burns	TC

Noise and Vibration	NV

Limited Entry	LE

Atmospheric	A
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Confined Space Inventory     Building:  Tracy Elementary School     Building Contact:     Jo Pyle   Program Contact:   Brian Parrie       Date:       1 /2 9/18      

  Room  Identification   Name Given Space    Opening   Dimension      Dimension   Of  Confined  Space      Potential     Hazards      Permit /   Non - Permit/Alternate    Labeled    Photo   ID #  

Boiler Room  18”  7’X3’X3.5’  ES, Ax,  T  Permit  Yes   

Boiler #1  

Boiler Room  18”  7’X3’X3.5’  ES, Ax,  T  Permit  Yes   

Boiler #2  

       

 

       

 

       

 

       

 

       

 

       

 

       

 

         

Confined Space Potential Hazard Key

 

 

Explosive / Flammable Atmospheres EF 

Toxic Atmospheres T 

Engulfment E 

Asphyxiation Ax 

Entrapment En 

Slips and falls SF 

Chemical Exposure C 

Electric Shock ES 

Thermal/Chemical Burns TC 

Noise and Vibration NV 

Limited Entry LE 

Atmospheric A 
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