Checklist of E/OHS Activities for Confined Space Entry

Program Contact Person:  Jo Pyle					

Is the Confined Space Entry Plan in place?  Yes  No N/A

Is the Plan current?  Yes  No N/A

Has the Plan been reviewed this school year?  Yes  No N/A

Have confined space areas been identified?  Yes  No N/A

Have measurements to include CCI/ft been completed?  Yes No N/A

Are permit entry forms in place?  Yes  No N/A

	Location:  Activities Manual	

Are confined space labels in the proper locations?  Yes  No N/A

Is a list of employees eligible to enter confined spaces complete?  Yes  No N/A

Has training for affected employees completed?  Yes No N/A

[bookmark: _GoBack]	Date of completion: 3/1/2017	

Note: Confined space entry activities at this school are limited to licensed contractors only. School staff does not enter confined space areas.

















 
Confined Space Inventory

Building: Tracy High School 

Building Contact:	Jo Pyle	Program Contact: Brian Parrie	

Date: 	1/29/18	

	
Room Identification
Name Given Space
	
Opening
Dimension

	
Dimension
Of Confined Space

	
Potential
 Hazards

	
Permit/
Non-Permit/Alternate
	
Labeled
	
Photo
ID #

	Boiler Room
	18”
	7’X3’X3.5’
	ES, AX, T
	Permit
	Yes
	

	Boiler #1
	
	
	
	
	
	

	Boiler Room
	18”
	7’X3’X3.5’
	ES, AX, T
	Permit
	Yes
	

	Boiler #2
	
	
	
	
	
	

	Boiler Room
	4’X15’
	100’X15’X4’
	T, ES
	Non-permit
	Yes
	

	Tunnel
	
	
	
	
	
	

	(2) Chimney Stacks
	18”X  18”
	30” round X 24’ high
	T, Particulate matter
	Permit
	No
	

	
	
	
	
	
	
	

	
	
	
	
	
	
	

	
	
	
	
	
	
	

	
	
	
	
	
	
	

	
	
	
	
	
	
	

	
	
	
	
	
	
	

	
	
	
	
	
	
	

	
	
	
	
	
	
	

	
	
	
	
	
	
	

	
	
	
	
	
	
	

	
	
	
	
	
	
	



	Confined Space Potential Hazard Key

Explosive / Flammable Atmospheres	EF
Toxic Atmospheres	T
Engulfment	E
Asphyxiation	Ax
Entrapment	En
Slips and falls	SF
Chemical Exposure	C
Electric Shock	ES
Thermal/Chemical Burns	TC
Noise and Vibration	NV
Limited Entry	LE
Atmospheric	A




 


	

 

 
Confined Space Inventory

Building: Tracy Elementary School

Building Contact:	 Jo Pyle	Program Contact:	Brian Parrie	

Date: 		1/29/18	

	
Room Identification
Name Given Space
	
Opening
Dimension

	
Dimension
Of Confined Space

	
Potential
 Hazards

	
Permit/
Non-Permit/Alternate
	
Labeled
	
Photo
ID #

	Boiler Room
	18”
	7’X3’X3.5’
	ES, Ax, T
	Permit
	Yes
	

	Boiler #1
	
	
	
	
	
	

	Boiler Room
	18”
	7’X3’X3.5’
	ES, Ax, T
	Permit
	Yes
	

	Boiler #2
	
	
	
	
	
	

	
	
	
	
	
	
	

	
	
	
	
	
	
	

	
	
	
	
	
	
	

	
	
	
	
	
	
	

	
	
	
	
	
	
	

	
	
	
	
	
	
	

	
	
	
	
	
	
	

	
	
	
	
	
	
	

	
	
	
	
	
	
	

	
	
	
	
	
	
	

	
	
	
	
	
	
	

	
	
	
	
	
	
	

	
	
	
	
	
	
	

	
	
	
	
	
	
	



	
Confined Space Potential Hazard Key

Explosive / Flammable Atmospheres	EF
Toxic Atmospheres	T
Engulfment	E
Asphyxiation	Ax
Entrapment	En
Slips and falls	SF
Chemical Exposure	C
Electric Shock	ES
Thermal/Chemical Burns	TC
Noise and Vibration	NV
Limited Entry	LE
Atmospheric	
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