Checklist of E/OHS Activities for Laboratory Standard/Chemical Hygiene Plan

Program Contact Person: Amy Ruben			, CHO

Is the Laboratory Standard/Chemical Hygiene Plan in place?  Yes No N/A

Is the Plan current?  Yes No N/A

Has the Plan been reviewed this school year?  Yes No N/A

Fume hood was tested on _2/14/2013______________.
	(date)

The results indicate air velocity to be: satisfactory, unsatisfactory.

Chemical inventory: 
	
	Date of most recent survey:  fall, 2008	

	Location of inventory listing:  Chemistry lab	

Are Material Safety Data Sheets (MSDSs) located with inventory?  Yes No N/A

Are the MSDS readily accessible?  Yes No N/A

Has the DCFL Science Lab Checklist been completed?  Yes No N/A

Is training for affected personnel complete?  Yes No N/A

	Date(s) of instruction: 	

	Roster signed?  Yes No N/A

	Lesson plan outline available with roster?  Yes No N/A

Status of Emergency Eye Wash/Deluge Shower:
	
	Is flushing conducted weekly?  Yes No N/A

	Is descriptive signage properly posted?  Yes No N/A

          Is flushing activity documented?  Yes No N/A

Note: the deluge shower is not available.11-06-08

Fume Hood Evaluation



Chemical Hygiene Officer: Amy Ruben		

Hood: 	Location: ROOM 152	

	
FIELD TEST (lf/min)


	>100 lf/min
	>100 lf/min

	>100 lf/min

	>100 lf/min
	>100 lf/min

	>100 lf/min



X	Pass	ٱ	Fail (face velocity of 100 lf/min cannot be achieved)

Sash Height: 24”		

Used as Storage?  Yes  No

Clean?  Yes  No

Comments: This fume hood operated adequately when sash was in full open position.

				

				

				

				

				



Completed by: Brian Parrie	Date: 2/14/2013	







Fume Hood Evaluation



Chemical Hygiene Officer: Amy Ruben		

Hood: #1	Location: ROOM 152	

	
FIELD TEST (lf/min)


	>100 lf/min
	>100 lf/min

	>100 lf/min

	>100 lf/min
	>100 lf/min

	>100 lf/min



X	Pass	ٱ	Fail (face velocity of 100 lf/min cannot be achieved)

Sash Height: Full open		

Used as Storage?  Yes  No

Clean?  Yes  No

Comments: This fume hood operated adequately when sash was in full open position.
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