Checklist of E/OHS Activities for Lead-in-Water Management

Program Contact Person: Jo Pyle

Is the Lead-in-Water Management Plan in place?  Yes  No

Is the Plan current?  Yes  No

Has the Plan been reviewed this school year?  Yes  No

This school completed testing of water supply taps _7/13/2000.

(date)

Is a map of all potable water taps available for review?  Yes  No  N/A

Checklist of E/OHS Activities for Lead-in-Paint Management

Program Contact Person: Jo Pyle

Is the Lead-in-Paint Management Plan in place?  Yes  No

Is the Plan current?  Yes  No

Has the Plan been reviewed this school year?  Yes  No

Testing for lead in paint on playground equipment: Note: All playground equipment has been replaced with lead free.

Date completed: N/A

Yet to be tested: N/A

Results of evaluation for paint condition in rooms K-1:

Building constructed post-1978; facility not applicable

Building constructed prior to 1978; paint determined to be in ____good__________ condition