


Checklist of E/OHS Activities for Lead-in-Water Management

Program Contact Person: Jo Pyle			

Is the Lead-in-Water Management Plan in place?  Yes  No

Is the Plan current?  Yes  No

Has the Plan been reviewed this school year?  Yes  No

[bookmark: _GoBack]This school completed testing of water supply taps _1/29/2018.
		(date)

Is a map of all potable water taps available for review?  Yes  No  N/A

Note: Water Samples collected 1/29/18 for testing.

Checklist of E/OHS Activities for Lead-in-Paint Management

Program Contact Person: Jo Pyle			

Is the Lead-in-Paint Management Plan in place?  Yes  No

Is the Plan current?  Yes  No

Has the Plan been reviewed this school year?  Yes  No

Testing for lead in paint on playground equipment: Note: All playground equipment has been replaced with lead free.

	Date completed: N/A

	Yet to be tested: N/A

Results of evaluation for paint condition in rooms K-1:
Building constructed post-1978; facility not applicable
Building constructed prior to 1978; paint determined to be in ____good__________ condition
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