	AHERA 6 MONTH PERIODIC INSPECTION AND ASSESSMENT OF ACBM
	

	INSPECTION DATE: 2/19/2019          LEA:  ECHO Charter School           Building: K-12

	

	(Please make additional copies of this page for buildings with more homogeneous areas than spaces provided.  Please number pages in the space below.)

	PERIODIC INSPECTION RESULTS

	Inspectors Name:     Shane Carlson
	Training: Building Inspector
	AI11154
	Page 1 of 1

	Location and Materials
	Homogeneous

Area
	Asbestos Containing Building Material
	Assessment/ Recommendation  

	
	
	Visually Inspected?
        Yes                     No
	Assumed

ACBM?

Yes     No
	Friable

ACBM?

Yes     No
	Change in condition.
    Yes     No
	Damage

Condition

No   D   SD
	Recommendation:
Repair/O&M/
Remove

	Tunnels and throughout, hard lagging
	8,10,12,
	Yes
	
	     (          (
	          (      (
	          (      (
	(    (    (
	Isolate, remove or repair

	9X9 Floor Tile
	19,21,24,25, 28, 29, 30, 31,37,43
	Yes
	
	     (         (
	          (      (
	          (      (
	(     (    (
	Repair then O&M

	Hard Lagging
	38,39,40,41,47
	Yes
	
	     (         (
	          (      (
	          (      (
	(    (    (
	O&M

	9X9 floor tile
	70,71,73,75
	Yes
	
	· (

	          (      (
	          (      (
	(     (    (
	O&M

	Spray on Ceiling Texture
	27
	
	No
	· x
	          X 
	                x
	x


	O&M


 Inspected by: Shane Carlson
