	AHERA 6 MONTH PERIODIC INSPECTION AND ASSESSMENT OF ACBM
	

	INSPECTION DATE: 3/31/15             LEA:  ECHO Charter School           Building: K-12

	

	(Please make additional copies of this page for buildings with more homogeneous areas than spaces provided.  Please number pages in the space below.)

	PERIODIC INSPECTION RESULTS

	Inspectors Name:     Brian Parrie
	Training: Building Inspector
	AI11154
	Page 1 of 1

	Location and Materials
	Homogeneous

Area
	Asbestos Containing Building Material
	Assessment/ Recommendation  

	
	
	Visually Inspected?
        Yes                     No
	Assumed

ACBM?

Yes     No
	Friable

ACBM?

Yes     No
	Change in condition.
    Yes     No
	Damage

Condition

No   D   SD
	Recommendation:
Repair/O&M/
Remove

	Tunnels and throughout, hard lagging
	8,10,12,
	Yes
	
	     (          x
	       x     (
	      (      x
	   x    (    (
	Isolate, remove or repair

	9X9 Floor Tile
	19,21,24-31,37

43
	Yes
	
	     (        x
	       (     x
	      (      x
	x    (    (
	Repair then O&M

	Hard Lagging
	38,39,40,41,41,47
	Yes
	
	     (         x
	       x      (
	      (      x
	   x    (     (
	O&M

	9X9 floor tile
	70,71,73,75
	Yes
	
	· x

	       (      x
	      (      x
	x    (    (
	O&M


