


Checklist of E/OHS Activities for Automatic External Defibrillator

Program Contact Person: Brian Longerbone			 

School policy for use adopted in place?  Yes  No N/A

Brand of AED?  Phillips Heart Smart     Model # M5066A-ABA Edition 7	

Name of Medical Director? The device was purchased through the community donations.  

Year device was placed into use? September, 2008					

Location(s) of devices:
Building Name                                          Location in Building
	Comfrey Public School
	Foyer Main Gymnasium

	
	

	
	

	
	



Have all software updates been installed?  Yes  No N/A

Date of update installation: N/A

Expiration date of pads? 6/2017                                                    

Expiration date of batteries?  07-2019    		                                                 (date)
          
Has staff been trained on operation of the device?  The last training was held on September 26, 2008. Talked with Kirsten Hutchinson about scheduling a training for both AED and CPR for staff members. Critical Staff are certified outside of school and carry cards.  

· [bookmark: _GoBack]Most recent date of training: Summer 2008			
                                                                   (date
· Provider of training: 				

		
Location of operators manual: Located in the box with the AED	

Are battery checks documented? 	The device works correctly, Checked 8/26/15	
 				
Notes: 
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