Checklist of E/OHS Activities for Automatic External Defibrillator

Program Contact Person: Kirsten	Hutchison

School policy for use adopted in place?  Yes  No N/A

Brand of AED?  Phillips Heart Smart     Model # M5066A-ABA Edition 7

Name of Medical Director? The device was purchased through the community donations.

Year device was placed into use? September, 2008

Location(s) of devices:

Building Name                                          Location in Building

| Comfrey Public School | Foyer Main Gymnasium |
| --- | --- |

Have all software updates been installed?  Yes  No N/A

Date of update installation: N/A

Expiration date of pads? 11/2019

Expiration date of batteries?  07-2019    		                                                 (date)

Has staff been trained on operation of the device?  The last training was held on October 11, 2017. Critical Staff are certified outside of school and carry cards.

- Most recent date of training: October 11, 2017

(date

- Provider of training:

Location of operators manual: Located in the box with the AED

Are battery checks documented? 	The device works correctly, Checked 2/2/2018

Notes: