Checklist of E/OHS Activities for Community Right-to-Know

Program Contact Person: 	Kirsten Hutchison				

Is the Community Right-to-Know Plan in place?  Yes No N/A

Is the Plan current?  Yes No N/A

Are quantities of stored and used designated hazardous materials documented and verified?  Yes No N/A
	
Where are the documents stored?  In Superintendent’s Office in manual.

Have the State Emergency Response Commission and local fire department been notified of hazardous materials on school grounds?  Yes No N/A

When were they notified?   2/2/2018
		(date)

Has training been provided?  Yes No N/A

		Date: N/A	

		Presenter: N/A	

Note: No reportable fuel oil is located at this campus. A 10,000 gallon fuel oil tank once existed on the west side of the school building. That tank was removed in 1998.

4 X 1000 gallon propane tanks are located across the street to the south entrance of the school. These storage tanks now provide backup energy for water heating and other miscellaneous backup requirements.

[bookmark: _GoBack]The address is http://minnesota.idsimaps.com and this may be used to submit a report on-line Inventory Form.

The new user name is: Comfrey081
The new password is: allen2012








Hazardous Material Inventory Form

Client: Comfrey Public School


	Contact Person:  Shawn Heiberts
	Date:
2/2/2017

	Hazardous
Material
	
Quantity
	
Location
	Reported on
Tier Two
	Installation 
Date(s)

	propane
	4 X1000
	South side of school
	Yes
	
	
	2000

	
	
	
	
	
	
	




Completed by: Brian Parrie	Date: 2-2-2018

Note: Tier II report was submitted 2/2/2018 copies of reports are in the activities manual. -BP
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