Checklist of E/OHS Activities for Compressed Gas Safety

Program Contact Person(s): Kristine Sellner/Troy Stresemann

Primary Contact: Troy Stresemann

Industrial Arts:  N/A

Is the Compressed Gas Plan in place?  Yes  No N/A

Is the Plan current?  Yes  No N/A

Has the Plan been reviewed this school year?  Yes  No

Has the facility been surveyed for compressed gas inventories?  Yes  No

Has training been conducted for affected personnel?  Yes  No

Training conducted on?  10/23/2013

Are records established/maintained for gas inventory?  Yes  No

Note: Compress gas on site is not being used.  EC 1/5/2016

# COMPRESSED GAS FIELD REVIEW

Compressed Gas Inventory

| Date: 1/16/2015 | Program Contact Person: Troy Stresemann |
| --- | --- |
| Department: Technology | Department Responsible Person: Troy Stresemann |
| Location: Metal Shop Area |  |
| Cylinders: - O2 2__________ - Acetylene 2 ____________ - NH3____________ | - CO2 ____________ - Argon ____________ - Argon/CO2____________ - Other __1__(Stargon)________ |

# Compliance Check List

Yes/ No

| 1. Are cylinders in well-ventilated area? | X |  |
| --- | --- | --- |
| 2. Are cylinders stored separate from flammable by at least 20 feet? | X |  |
| - During storage are oxygen cylinders separated from fuel gas cylinders, unless on welding cart? | X |  |
| 4. Are cylinders kept away from sources of heat (below 130 F)? | X |  |
| - Are safety chains used at all times on both full and empty cylinders? (2/3rds from top of cylinder) | X |  |
| 6. Are empty cylinders maintained separate from full cylinders? | X |  |
| - Are cylinders kept away from sources of ignition such as electricity, excessive heat or oily rags? | X |  |
| 8. Are carts designed specifically for gas cylinders available? | X |  |
| 9. Are damaged cylinders, valves/hoses removed from service? | X |  |
| 10. Are all cylinders properly labeled with the contents? | X |  |