Checklist of E/OHS Activities for Compressed Gas Safety

Program Contact Person(s): Kristine Sellner/Eddy Jaskowiak

Primary Contact: Eddy Jaskowiak

Industrial Arts:  N/A

Is the Compressed Gas Plan in place?  Yes  No N/A

Is the Plan current?  Yes  No

Has the Plan been reviewed this school year?  Yes  No

Has the facility been surveyed for compressed gas inventories?  Yes  No

Has training been conducted for affected personnel?  Yes  No

Training conducted on?

Are records established/maintained for gas inventory?  Yes  No

01/06/2019 SC

# COMPRESSED GAS FIELD REVIEW

Compressed Gas Inventory

| Date: 2/2/2018 | Program Contact Person: Shawn Hiebertsn |
| --- | --- |
| Department: Technology | Department Responsible Person: Shawn Hiebertsn |
| Location: Metal Shop Area |  |
| Cylinders: - O2 3__________ - Acetylene 2 ____________ - NH3____________ | - CO2 ____________ - Argon ____________ - Argon/CO2_____1_______ - Other ____________ |

# Compliance Check List

Yes/ No

| 1. Are cylinders in well-ventilated area? | X |  |
| --- | --- | --- |
| 2. Are cylinders stored separate from flammable by at least 20 feet? | X |  |
| - During storage are oxygen cylinders separated from fuel gas cylinders, unless on welding cart? | X |  |
| 4. Are cylinders kept away from sources of heat (below 130 F)? | X |  |
| - Are safety chains used at all times on both full and empty cylinders? (2/3rds from top of cylinder) | X |  |
| 6. Are empty cylinders maintained separate from full cylinders? | X |  |
| - Are cylinders kept away from sources of ignition such as electricity, excessive heat or oily rags? | X |  |
| 8. Are carts designed specifically for gas cylinders available? | X |  |
| 9. Are damaged cylinders, valves/hoses removed from service? | X |  |
| 10. Are all cylinders properly labeled with the contents? | X |  |