Checklist of E/OHS Activities for Confined Space Entry

Program Contact Person: 	Shawn Hieberts

Is the Confined Space Entry Plan in place?  Yes  No N/A

Is the Plan current?  Yes  No N/A

Have confined space areas been identified?  Yes  No N/A

Have measurements to include CCI/ft been completed?  Yes No N/A

Are permit entry forms in place?  Yes  No N/A

Location:  Activities Manual

Are confined space labels in the proper locations?  Yes  No N/A

Is a list of employees eligible to enter confined spaces complete?  Yes  No N/A

Has training for affected employees completed?  Yes No N/A

Date of completion:

Note: the campus contains only three confined spaces. The old section of the school has a remnant tunnel that is no longer used. It served as a steam tunnel prior to remodeling in 1999. The tunnel is no longer entered by school employees.

A second confined space would be an area under the elevator. This is only entered by elevator maintenance staff. Entry by outsource personnel is conducted under the entry plan of the outsourcing vendor.

A third location is a water shutoff pit located at the athletic field. Entry is restricted to City of Comfrey workers.

City workers service the manhole at the football field during spring renovation. School staff may assist with entry operations. 1-5-16

# Confined Space Inventory

Comfrey Public School

Building: K-12

Building Contact: Brian Parrie	Program Contact: Brian Parrie

Completed By:  Brian Parrie               Date: 2/2/2017

| Room Identification Name Given Space | Opening Dimension | # Dimension Of Confined Space | ## Potential Hazards | ## Permit/ Non- Permit | Labeled | Photo ID # |
| --- | --- | --- | --- | --- | --- | --- |
| Under stair well | 36”X36” | 32”X5’X252’ | Limited hazards | Permit required | Yes |  |
| Tunnels |  |  |  |  |  |  |
| Elevator | 36”X72” | 5’WX6’LX4’deep | Hydraulic, ES | Permit required | N/A |  |
| Elevator pit |  |  |  |  |  |  |
| Athletic Field | 30” round | 30”X4’ deep | Ax, En, A | Permit required | N/A |  |
| Water shutoff |  |  |  |  |  |  |

Confined Space Potential Hazard Key

Explosive / Flammable Atmospheres	EF

Toxic Atmospheres	T

Engulfment	E

Asphyxiation	Ax

Entrapment	En

Slips and falls	SF

Chemical Exposure	C

Electric Shock	ES

Thermal/Chemical Burns	TC

Noise and Vibration	NV

Limited Entry	LE

Atmospheric	A