Checklist of E/OHS Activities for Indoor Air Quality

Program Contact Person: 	Troy Stresemann

Is the IAQ Plan in place?  Yes No

Is the Plan current?  Yes No

Has the Plan been reviewed this school year?  Yes No

Has an IAQ Committee been established? The Safety Committee serves as the IAQ Committee.

Has the annual cursory walk-through been conducted?  Yes No

Have the districts key building systems been evaluated? Yes No

When was the evaluation completed? 5-11-2010

Who conducted the evaluation? Lee Carlson

Were occupied areas of the district evaluated using the EPA’s Tools For Schools check list or equivalent?

- Teachers check list?  An information fact sheet was provided all –staff.

# of forms distributed           # of Forms returned:

- Building maintenance checklist?

- Building ventilation checklist?

Training conducted

(date)

Training has been scheduled for _______________.

(date)

Has the District determined the mechanical ventilation rate of each occupied space? Yes No.

Supportive technical services were conducted on:  ___N/A______________.

(date)

Results of technical services are located? __N/A ________

# IAQ Survey Review Form

Building:  Comfrey Public School

Building Contact: Kirsten Hutchison          Program Contact: Troy Stresemann

| Room Identification Contact individual | Water Intrusion | # Ventilation problems | Building failures i.e. foundation or roof problems | Cleanliness/ Proper storage | O&M Carpets |
| --- | --- | --- | --- | --- | --- |

Recommendations: The condition of the rooms and cleaning methods appear to meet the requirements of the indoor air program at this school. No issues have been raised by staff or students. No apparent problems located.

Walk-through conducted by: _Brian Parrie_Date: _2/6/2014