Checklist of E/OHS Activities for Lead-in-Water Management

Program Contact Person:  Shawn Hiebert

Is the Lead-in-Water Management Plan in place?  Yes  No

Is the Plan current?  Yes  No

Has the Plan been reviewed this school year?  Yes  No

This school completed testing of water supply taps: 2/2/2018.

Note: lead tests conducted in 2001 determined no fixture to exceed the action level of 15ppb. The Minnesota Department of Health recommends testing every five years to access changes.

Is a map of all potable water taps available for review?  Yes  No  N/A

Checklist of E/OHS Activities for Lead-in-Paint Management

Program Contact Person:  Shawn Hiebert

Is the Lead-in-Paint Management Plan in place?  Yes  No

Is the Plan current?  Yes  No

Has the Plan been reviewed this school year?  Yes  No

Testing for lead in paint on playground equipment: Note: All playground equipment has been replaced with lead free.

Date completed: 1998

Yet to be tested: N/A

Results of evaluation for paint condition in rooms K-1:

Building constructed post-1978; facility not applicable

Building constructed prior to 1978; paint determined to be in good condition

Note: