Checklist of E/OHS Activities for Underground and Aboveground Storage Tanks

Program Contact Person: Shawn Hiebert

Is the Underground and Aboveground Storage Tanks Plan in place?  Yes  No  N/A

Is the Plan current?  Yes  No  N/A

Has the Plan been reviewed this school year?  Yes  No  N/A

Have forms for inventory tracking been provided?  Yes  No  N/A

Do existing records accurately reflect purchase use correlation?  Yes  No  N/A

Are all USTs registered with the Minnesota Pollution Control Agency?  Yes  No  N/A

Are removals or additions of tanks anticipated in this facility?  Yes  No  N/A

Notes: The last exiting underground storage tank was removed in 1998. 4 one thousand gallon tanks are located across the street. These have been reported to the Emergency Response Commission for 2015-16. EC