Checklist of E/OHS Activities for Community Right-to-Know

Program Contact Person: 	Dustin Heneca

Is the Community Right-to-Know Plan in place?  Yes No N/A

Is the Plan current?  Yes No N/A

Has the Plan been reviewed this school year?  Yes No N/A

Are quantities of stored and used designated hazardous materials documented and verified?  Yes No N/A

Note: (2) Tanks are located in custodial office. They are less than the required quantity to be reported.

Where are the documents stored?  Activity Manual

Have the State Emergency Response Commission and local fire department been notified of hazardous materials on school grounds?  Yes No N/A

When were they notified?  N/A

(date)

Has training been provided?  Yes No N/A

Date: N/A

Presenter: N/A

No changes have been noted for school year 2014-2015.

Inventory Form

Client: ECHO Charter School

| Contact Person: Jason VanEngen |  |  | Date: 3/31/15 |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Hazardous Material | Quantity | Location |  | Reported on Tier Two | Installation Date(s) |  |  |
| # 2 Fuel oil | 260 gal X 2 520 total gallons | Custodial room next to boiler room |  | N/A |  |  |  |

Note: The minimum quantity of reportable chemicals is 10,000 lbs. The above fuel remains less than required for reporting. LC 9/5/2007

No changes in school year 2014-2015. EK