Checklist of E/OHS Activities for Compressed Gas Safety

Program Contact Person(s): Dustin Haneca

Primary Contact: Dustin Haneca

Industrial Arts:     N/A

Maintenance:  ___N/A_______________

Metals Shop:   Dustin Haneca

Is the Compressed Gas Plan in place?  Yes  No

Is the Plan current?  Yes  No

Has the facility been surveyed for compressed gas inventories?  Yes  No

Has training been conducted for affected personnel?  Yes  No

Training conducted on?

Are records established/maintained for gas inventory?  Yes  No

COMPRESSED GAS FIELD REVIEW

Compressed Gas Inventory

| Date: 2/24/17 | Program Contact Person: Dustin Haneca |
| --- | --- |
| Department: Metals | Department Responsible Person: Dustin Haneca |
| Location: Metal Shop Area |  |
| Cylinders: - O2 1__________ - Acetylene 1 ____________ - NH3____________ | - CO2 ____________ - Argon ____________ - Argon/CO2__3__________ - Other ____________ |

Note:

# Compliance Check List

Yes/ No

| 1. Are cylinders in well-ventilated area? | X |  |
| --- | --- | --- |
| 2. Are cylinders stored separate from flammable by at least 20 feet? | X |  |
| - During storage are oxygen cylinders separated from fuel gas cylinders, unless on welding cart? | X |  |
| 4. Are cylinders kept away from sources of heat (below 130 F)? | X |  |
| - Are safety chains used at all times on both full and empty cylinders? (2/3rds from top of cylinder) | X |  |
| 6. Are empty cylinders maintained separate from full cylinders? | X |  |
| - Are cylinders kept away from sources of ignition such as electricity, excessive heat or oily rags? | X |  |
| 8. Are carts designed specifically for gas cylinders available? | X |  |
| 9. Are damaged cylinders, valves/hoses removed from service? | X |  |
| 10. Are all cylinders properly labeled with the contents? | X |  |