Checklist of E/OHS Activities for Confined Space Entry

Program Contact Person: 	Dustin Haneca

Is the Confined Space Entry Plan in place?  Yes  No N/A

Is the Plan current?  Yes  No N/A

Have confined space areas been identified?  Yes  No N/A

Have measurements to include CCI/ft been completed?  Yes No N/A

Are permit entry forms in place?  Yes  No N/A

Location:   Tunnel openings, boiler room and gym tunnel

Are confined space labels in the proper locations?  Yes  No N/A

Is a list of employees eligible to enter confined spaces complete?  Yes  No N/A

Has training for affected employees completed?  Yes No

Confined Space Inventory

Building: E.C.H.O Charter School

Building Contact: Dustin Haneca	Program Contact: Dustin Haneca

Completed By: Eileen Carlson	 Date:3/17/2016

| Room Identification Name Given Space | Opening Dimension | # Dimension Of Confined Space | ## Potential Hazards | ## Permit/ Non-Permit/Alternate | Labeled | Photo ID # |
| --- | --- | --- | --- | --- | --- | --- |
| Old Kitchen | 32”X22”’ | 32”X13’ | Ax, ES | Non-Permit | No |  |
| Area above kitchen |  |  |  |  |  |  |
| Boiler Room | 16”round | 9’X43”X48” | Ax, Ex, TC | Permit Required | Yes |  |
| Boiler #1 |  |  |  |  |  |  |
| Boiler Room | 16” round | 9’X43”X48” | Ax, ES, TC | Permit-Required | Yes |  |
| Boiler #2 |  |  |  |  |  |  |
| Boiler Room | 46”X46” | 30”X53”X length of run | LE, Ax | Permit Required | No |  |
| Tunnel |  |  |  |  |  |  |
| Gymnasium | 30”X24” | 8’X12’X48” | LE, Ax | Non-Permit | No |  |
| Above stage |  |  |  |  |  |  |
| Tunnel by old gym | 3’X3’ |  | LE, TC | Non-Permit | No |  |
| Elevator pit | 5’X5’ |  | ES, E, En | Non-Permit | No |  |
| Furnace Stack | 24”X30” |  | T, A, TC | Permit Required | No |  |

Confined Space Potential Hazard Key

Explosive / Flammable Atmospheres	EF

Toxic Atmospheres	T

Engulfment	E

Asphyxiation	Ax

Entrapment	En

Slips and falls	SF

Chemical Exposure	C

Electric Shock	ES

Thermal/Chemical Burns	TC

Noise and Vibration	NV

Limited Entry	LE

Atmospheric	A