Checklist of E/OHS Activities for Automatic External Defibrillator

Program Contact Person: Shery Jacobson

School policy for use adopted in place?  Yes  No N/A

Brand of AED in Staff Lounge? Medtronic   Model # LifePac CR Plus	Ref# 3200731-002

Brand of AED in Gym?  AFA Advanced First Aid

Name of Medical Director?

Year device was placed into use? September 28, 2008	, December 2015

Location(s) of devices:

Building Name                                          Location in Building

| ECHO K-12 | Staff Lounge |
| --- | --- |
| ECHO K-12 | Gym Lounge |

Have all software updates been installed?  Yes  No N/A

Date of update installation:

Expiration date of pads?

(Staff Lounge) Adult pads: 10/28/17, Child/Infant pads: 2/28/17

(Gym Lounge) Adult pads: 6/12/18

Note: Shery followed up on the expired pads and everything is updated and the batteries are checked regularly.

Expiration date of batteries?

(Staff Lounge) 10/28/17

(Gym) 6/12/18

Has staff been trained on operation of the device?  Yes, all school nurses and Emergency responders are trained biannually.

- Most recent date of training   Aug. 17, 2016

(date)

- Provider of training: Gene Hughes  Ambulance at Granite Falls

Location of operators manual: It is located with the device in the staff work room.

Are battery checks documented? Yes, The checks are documented monthly. The check sheet is located in the AED storage box.