Checklist of E/OHS Activities for Automatic External Defibrillator

Program Contact Person: Shery Jacobson
School policy for use adopted in place?  Yes  No N/A

Brand of AED in Staff Lounge? Medtronic   Model # LifePac CR Plus	Ref# 3200731-002  

Brand of AED in Gym?  AFA Advanced First Aid

Name of Medical Director? 

Year device was placed into use? September 28, 2008	, December 2015			

Location(s) of devices:
Building Name                                          Location in Building
	ECHO K-12
	Staff Lounge

	ECHO K-12
	Gym Lounge



Have all software updates been installed?  Yes  No N/A

Date of update installation: 

Expiration date of pads? 
(Staff Lounge) Adult pads: 7/31/2020, (Gym Lounge) Adult pads: 10/18/2020

Note: Shery followed up on the expired pads and everything is updated and the batteries are checked regularly. 

No child pads found. Recommend getting child pads -7-7-2020

Expiration date of batteries? 
(Staff Lounge) 7/31/2020
[bookmark: _GoBack](Gym) 7/31/2020
          
Has staff been trained on operation of the device?  Yes, all school nurses and Emergency responders are trained biannually.				

· Most recent date of training   Aug. 24, 2017		
                                                                   (date)
                            
· Provider of training: Gene Hughes  Ambulance at Granite Falls	
		
Location of operators manual: It is located with the device in the staff work room. 	

Are battery checks documented? Yes, The checks are documented monthly. The check sheet is located in the AED storage box.				
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