


Checklist of E/OHS Activities for Automatic External Defibrillator

Program Contact Person: Caren Hoversten

School policy for use adopted in place?  Yes  No N/A

Brand of AED?  Phillips Heart Start HS1

Name of Medical Director? 

Year device was placed into use? March 2011				

Location(s) of devices:
Building Name                                          Location in Building
	Lynd Public School
	Hallway in front of office

	
	

	
	

	
	



Have all software updates been installed?  Yes  No N/A

Date of update installation: 
Expiration date of pads? Adult pads 1/2016, Child pads 12/15 

Expiration date of batteries?    9/2016  		                                                 (date)
          
Has staff been trained on operation of the device?  Yes, volunteer staff was trained	

· Most recent date of training:  March 2011	
                                                                   (date
                             Note: Training is being schedules 2013. Bp10/9/2013

· Provider of training:  Jeff Molberg, Community Health, Marshall MN

		
Location of operators manual:   It is located with the device. 	

Are battery checks documented? 	No,  not at this time.
 

Notes: Reviewed plan 5/12/2014, checked with Caren regarding AED training			
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