Checklist of E/OHS Activities for Automatic External Defibrillator

Program Contact Person: Caren Hoversten

School policy for use adopted in place?  Yes  No N/A

Brand of AED?  Phillips Heart Start HS1

Name of Medical Director?

Year device was placed into use? March 2011

Location(s) of devices:

Building Name                                          Location in Building

| Lynd Public School | Hallway in front of office |
| --- | --- |

Have all software updates been installed?  Yes  No N/A

Date of update installation:

Expiration date of pads? Adult pads 1/2016, Child pads 12/15

Expiration date of batteries?    9/2016  		                                                 (date)

Has staff been trained on operation of the device?  Yes, volunteer staff was trained

- Most recent date of training:  March 2011

(date

Note: Training is being schedules 2013. Bp10/9/2013

- Provider of training:  Jeff Molberg, Community Health, Marshall MN

Location of operators manual:   It is located with the device.

Are battery checks documented? 	No,  not at this time.

Notes: Reviewed plan 5/12/2014, checked with Caren regarding AED training