Checklist of E/OHS Activities for Automatic External Defibrillator

Program Contact Person: Bev Seehusen

School policy for use adopted in place?  Yes  No N/A

Brand of AED?  Phillips Heart Start HS1

Name of Medical Director? 

Year device was placed into use? March 2011				

Location(s) of devices:
Building Name                                          Location in Building
	Lynd Public School
	Hallway in front of office

	
	

	
	

	
	



Have all software updates been installed?  Yes  No N/A

Date of update installation: 

Expiration date of pads? Adult pads 1/2016, Child pads 12/15 

Expiration date of batteries?    9/2016  		                                                 (date)
          
Has staff been trained on operation of the device?  Yes, volunteer staff was trained	

· Most recent date of training:  October 2013	
                                                                   (date
                             

· Provider of training:  Jeff Molberg, Community Health, Marshall MN

		
Location of operators manual:   It is located with the device. 	

Are battery checks documented? 	Did a battery check 8/27/15. Machine works properly.
 
[bookmark: _GoBack]Notes: Reviewed plan and talked with Bev about the next AED/CPR training. They are planning to get trained in October 2015. Followed up on training and they got trained November 17, 2015. They plan to hold another training for other staff members that are interested the 1st of the year. 12-2-15-EC
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