Checklist of E/OHS Activities for Confined Space Entry

Program Contact Person: 	Dale Wieme

Is the Confined Space Entry Plan in place?  Yes  No N/A

Is the Plan current?  Yes  No N/A

Has the Plan been reviewed this school year?  Yes  No N/A

Have confined space areas been identified?  Yes  No N/A

Have measurements to include CCI/ft been completed?  Yes No N/A

Are permit entry forms in place?  Yes  No N/A

Location:  Activities Manual

Are confined space labels in the proper locations?  Yes  No N/A

Is a list of employees eligible to enter confined spaces complete?  Yes  No N/A

Has training for affected employees completed?  Yes No

Date of completion:  10/9/2013

# Confined Space Inventory

Building: Lynd Public School

Building Contact: DaleWieme	Program Contact: Dale Wieme

Completed By: Brian Parrie           Date: 10/9/2013

| Room Identification Name Given Space | Opening Dimension | # Dimension Of Confined Space | ## Potential Hazards | ## Permit/ Non- Permit | Labeled | Photo ID # |
| --- | --- | --- | --- | --- | --- | --- |
| Basement (Storage) | 5’x4’ | 5’x4’x300’ | Electric Heat | Non-Permit | Yes | LT001 |
| Tunnel |  |  |  |  |  |  |

Use LOTO procedures to eliminate hazards of electricity and heat.