Checklist of E/OHS Activities for Facilities Safety Management and Fire Safety in Schools

Program Contact Person: Dennis Guza

Is the Facilities Safety Management program in place?  Yes  No

Does this school use contracted services for the Management Assistant Program? Yes No N/A

If no, who is the designated person or persons? 	Christine Schmitt

Fire and Life Safety in Schools

Program Contact Person: Dennis Guza

Is the Fire Marshal approved Emergency Evacuation Plan in place for each district building?  Yes  No

Most recent date of sprinkler electronics inspection:___August 2017___  N/A

Most recent date of alarm inspection: June, 2017_______  N/A

Most recent inspection of fire extinguishers: June, 2017 N/A

Most recent inspection of fume hoods with fire suppressant: _____ _ N/A

Are emergency lights tested at least biannually? Yes No N/A

Science safety Checklist completed? Yes No N/A

Facilities Safety Review

Building: Lynd Public School

| Mock-OSHA Review Area | Date Review Completed | N/A | Recommendations |
| --- | --- | --- | --- |
| Art | 10/19/2010 |  |  |
| Dark Room | 10/19/2010 | N/A |  |
| Wood Shop | 10/19/2010 |  |  |
| Kitchen | 10/19/2010 |  |  |
| Metal Shop | 10/19/2010 | N/A |  |
| Halls, Gym, etc. | 10/19/2010 |  |  |
| Graphic Arts | 10/19/2010 | N/A |  |
| Maintenance/Custodial | 10/19/2010 |  |  |
| Transportation | 10/19/2010 |  |  |
| Grounds/Garage | 10/19/2010 |  |  |
| Chemistry/Life Science | 10/19/2010 | N/A |  |

Conduction by:                             Date: