Checklist of E/OHS Activities for Hearing Conservation

Program Contact Person: Dale Wieme

Is the Hearing Conservation Plan in place?  Yes  No

Is the Plan current?  Yes  No

Has the Plan been reviewed this school year?  Yes  No

Has the program been approved by the School Board for the current school year?

Yes  No

Has the school been surveyed for noise hazards?  Yes  No

Have sound level measurements been collected?  Yes  No

Have the results been documented?  Yes  No

Location:  Activities Manual

Has training been scheduled or completed for affected individuals this school year? Yes No N/A

Date: 10/9/2013

Presenter:  Brian Parrie

Have regulatory changes occurred that may affect this program?  No

Sound Level Monitoring

Client: Lynd Public School

| Measuring Device: Digital Sound Level Meter |  | Calibration: Pre___________ Post___________ |  |
| --- | --- | --- | --- |
| Reason for Testing: General Survey |  |  |  |
| Affected Personnel: Custodial, maintenance |  |  |  |
| Location | Equipment | Results | Recommendations |
| Lynd PS | Boiler | 83.0 dB | None |
| Lynd PS | Air Compressor | 76.9 dB | None |
| Lynd PS | Table Saw | 87.2 dB | Hearing Protection recommended |
| Lynd PS | Band Saw | 86.9 dB | None |
| Lynd PS | Disc/Belt Sander | 84.9 dB | None |
| Lynd PS | Band Room | 87.0-95.0 dB | None |
| Lynd PS | Kitchen | 70.7 dB | None |
| Lynd PS | Cafeteria | 74.8 dB | None |
| Lynd PS | Gymnasium | 74.0-77.9 dB | None |

Completed by:	Steve Musser		 Date:	 3/22/10