Checklist of E/OHS Activities for Automatic External Defibrillator

Program Contact Person: 		Dale Johnson

School policy for use adopted in place?  Yes  No N/A

Brand of AED? Zoll AED Plus

Name of Medical Director?

Year device was placed into use? 	2013

Location(s) of devices:

Building Name       Location in Building      Exp. Pads			Exp. Batteries

| St. Mary’s School | Hallway by office | 1-12-2015 |  |
| --- | --- | --- | --- |

Note: Told Laurie that the pads were expired and she will get them changed out.-EC 11/20/2015

Have all software updates been installed?  Yes  No N/A

Date of update installation: N/A

Has staff been trained on operation of the device?

- Most recent date of training:  March 2014

(date

- Provider of training: 	EMT from Tracy

Notes: Talked to Laurie about setting up a CPR and AED training for any staff that is available. She is looking into that. Reminded that certification should be renewed every 2 years. –EC 9/2/2015