


Checklist of E/OHS Activities for Hearing Conservation

[bookmark: _GoBack]Program Contact Person: Chueyee Hur

Is the Hearing Conservation Plan in place?  Yes  No

Is the Plan current?  Yes  No

Has the Plan been reviewed this school year?  Yes  No

Has the school been surveyed for noise hazards?  Yes  No

Have sound level measurements been collected?  Yes  No

Have the results been documented?  Yes  No

	Location:  Activities Manual	

Has training been scheduled or completed for affected individuals this school year? Yes No N/A

	Date: 	

	Presenter:  Brian Parrie	

Have regulatory changes occurred that may affect this program?	


Note: 















Sound Level Monitoring


Client: Cathedral School


	
Measuring Device: Center 325 Sound Level Meter

	
Calibration:  Pre___________ Post___________

	
Reason for Testing: General Survey


	
Affected Personnel: Custodial, Maintenance, Teachers


	Location
	Equipment
	Results
	Recommendations

	Gymnasium
	
	73.0 – 75.0 db
	None

	Cafeteria
	
	65.0-70.0 bd
	None

	Kitchen
	
	70.0 – 72.0 db
	None

	Boiler Room
	Pumps
	70.0 71.0 db
	None

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	



Completed by Brian Parrie	 Date:4/28/2015
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