Checklist of E/OHS Activities for Hearing Conservation

Program Contact Person: Chueyee Hur

Is the Hearing Conservation Plan in place?  Yes  No

Is the Plan current?  Yes  No

Has the Plan been reviewed this school year?  Yes  No

Has the school been surveyed for noise hazards?  Yes  No

Have sound level measurements been collected?  Yes  No

Have the results been documented?  Yes  No

Location:  Activities Manual

Has training been scheduled or completed for affected individuals this school year? Yes No N/A

Date:

Presenter:

Have regulatory changes occurred that may affect this program?   NO

Note:

Sound Level Monitoring

Client: Cathedral School

| Measuring Device: Center 325 Sound Level Meter |  | Calibration: Pre___________ Post___________ |  |
| --- | --- | --- | --- |
| Reason for Testing: General Survey |  |  |  |
| Affected Personnel: Custodial, Maintenance, Teachers |  |  |  |
| Location | Equipment | Results | Recommendations |
| Gymnasium |  | 73.0 – 75.0 db | None |
| Cafeteria |  | 65.0-70.0 bd | None |
| Kitchen |  | 70.0 – 72.0 db | None |
| Boiler Room | Pumps | 70.0 71.0 db | None |

Completed by Brian Parrie	 Date:4/28/2015