**Client:** Ellsworth Public School

**Machine Name:** Air Compressor

**Location of Machine:** Boiler Room

**Energy Type:** Electric/Pneumatic

**Building:** High School

**Client Contact:** Mike Nolte

**Shutdown:**

**Step 1: Alert all employees that will be affected by the shut down.**

**Step 2: Shut machine down using normal shut down procedures.**

*Location & Method:*

* Turn the Pressure regulator on unit to the “Off” position.

**Step 3: Isolate machine from all energy sources.**

*Location & Method:*

* Turn off the breaker box on wall behind unit
* Bleed valves on unit

**Step 4: Apply Lockout devices.**

*Location:*

* Apply lockout device to electricity, bleed tank and lines

**Step 5: Verification & Dissipation of stored energy.**

*Location & Method:*

* Attempt to start, verify “0” pressure on gauge

**Shutdown:**

**MACHINE IS NOW LOCKED OUT**

**Start up**

**Step 1: Alert all employees of the start up**

**Step 2: Remove all Lockout devices.**

**Step 3: Restore energy to equipment.**

**Step 4: Verify restoration by starting equipment**