|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Machine** | **Location** | | | **Type of Energy** | | **Magnitude** | | **Operating Control Location** |
| Planer | Industrial Tech Shop | | | Electric | |  | | On/Off switch on unit |
| **Building** | | | **Isolating Device Location 1** | | | | **Isolating Device Location 2** | |
| Ellsworth Public School | | Knife switch on wall (South) | | | | Breaker #7 on south wall | | |
| **Method to Dissipate or Restrain** | | | |  | | **Method of Verification** | | |
| Apply lockout device to electricity |  | | |  | Attempt to start | | | |

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Machine** | **Location** | | | **Type of Energy** | | **Magnitude** | | **Operating Control Location** |
| Dust Vacuum | Industrial Tech Shop | | | Electric | |  | | Knife switch on south wall |
| **Building** | | | **Isolating Device Location 1** | | | | **Isolating Device Location 2** | |
| Ellsworth Public School | | Breaker #1 | | | |  | | |
| **Method to Dissipate or Restrain** | | | |  | | **Method of Verification** | | |
| Apply lockout device to electricity |  | | |  | Attempt to start | | | |

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Machine** | **Location** | | | **Type of Energy** | | **Magnitude** | | **Operating Control Location** |
| Grinder | Industrial Tech Shop | | | Electric | |  | | On/Off switch on unit |
| **Building** | | | **Isolating Device Location 1** | | | | **Isolating Device Location 2** | |
| Ellsworth Public School | | Push On/Off switch on wall by unit | | | | Breaker #8 | | |
| **Method to Dissipate or Restrain** | | | |  | | **Method of Verification** | | |
| Apply lockout device to electricity |  | | |  | Attempt to start | | | |

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Machine** | **Location** | | | **Type of Energy** | | **Magnitude** | | **Operating Control Location** |
| Drill Press | Industrial Tech Shop | | | Electric | |  | | On/Off button on unit |
| **Building** | | | **Isolating Device Location 1** | | | | **Isolating Device Location 2** | |
| Ellsworth Public School | | Push On/Off switch on wall by unit | | | | Breaker #3 | | |
| **Method to Dissipate or Restrain** | | | |  | | **Method of Verification** | | |
| Apply lockout devise to electricity |  | | |  | Attempt to start | | | |

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Machine** | **Location** | | | **Type of Energy** | | **Magnitude** | | **Operating Control Location** |
| Table Saw | Industrial Tech Shop | | | Electric | |  | | On/Off switch on unit |
| **Building** | | | **Isolating Device Location 1** | | | | **Isolating Device Location 2** | |
| Ellsworth Public School | | Breaker #2 | | | |  | | |
| **Method to Dissipate or Restrain** | | | |  | | **Method of Verification** | | |
| Apply lockout device to electricity |  | | |  | Attempt to start | | | |

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Machine** | **Location** | | | **Type of Energy** | | **Magnitude** | | **Operating Control Location** |
| Cooler Compressor | Kitchen | | | Elec/Pneumatic | |  | | Thermostat on unit |
| **Building** | | | **Isolating Device Location 1** | | | | **Isolating Device Location 2** | |
| Ellsworth Public School | | Knife switch on back of unit | | | | Electric panel-Breaker #4 | | |
| **Method to Dissipate or Restrain** | | | |  | | **Method of Verification** | | |
| Serviced by a licensed refrigeration specialist |  | | |  | Serviced by a licensed refrigeration specialist | | | |
| **Machine** | **Location** | | | **Type of Energy** | | **Magnitude** | | **Operating Control Location** |
| Dishwasher | Kitchen | | | Electric/Thermal | |  | | On/Off switch on unit |
| **Building** | | | **Isolating Device Location 1** | | | | **Isolating Device Location 2** | |
| Ellsworth Public School | | Breaker #5 | | | | Electric panel-Breaker #26 | | |
| **Method to Dissipate or Restrain** | | | |  | | **Method of Verification** | | |
| Apply lockout device to electricity, allow to cool |  | | |  | Attempt to start | | | |

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Machine** | **Location** | | | **Type of Energy** | | **Magnitude** | | **Operating Control Location** |
| Booster Heater | Kitchen | | | Electric/Thermal | |  | | On/Off switch under unit by wall |
| **Building** | | | **Isolating Device Location 1** | | | | **Isolating Device Location 2** | |
| Ellsworth Public School | | Breaker #37 | | | | Electric panel-Breaker #4 | | |
| **Method to Dissipate or Restrain** | | | |  | | **Method of Verification** | | |
| Apply lockout device to electricity, allow to cool |  | | |  | Attempt to start | | | |

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Machine** | **Location** | | | **Type of Energy** | | **Magnitude** | | **Operating Control Location** |
| Sink Heater | Kitchen | | | Electric/Thermal | |  | | On/Off switch under unit by wall |
| **Building** | | | **Isolating Device Location 1** | | | | **Isolating Device Location 2** | |
| Ellsworth Public School | | Breaker #2 | | | |  | | |
| **Method to Dissipate or Restrain** | | | |  | | **Method of Verification** | | |
| Apply lockout device to electricity, allow to cool |  | | |  | Attempt to start | | | |
| **Machine** | **Location** | | | **Type of Energy** | | **Magnitude** | | **Operating Control Location** |
| Disposal | Kitchen | | | Electric | |  | | On/Off switch under unit by wall |
| **Building** | | | **Isolating Device Location 1** | | | | **Isolating Device Location 2** | |
| Ellsworth Public School | | Breaker #2 | | | |  | | |
| **Method to Dissipate or Restrain** | | | |  | | **Method of Verification** | | |
| Apply lockout device to electricity, allow to cool |  | | |  | Attempt to start | | | |
| **Machine** | **Location** | | | **Type of Energy** | | **Magnitude** | | **Operating Control Location** |
| Boiler (North) | Boiler Room | | | Elec/Pneum/Therm | |  | | On/Off switch on unit |
| **Building** | | | **Isolating Device Location 1** | | | | **Isolating Device Location 2** | |
| Ellsworth Public School | | Valve on propane line, Gate valve on fuel line | | | | Electric panel-Breaker #11 | | |
| **Method to Dissipate or Restrain** | | | |  | | **Method of Verification** | | |
| Apply lockout device to electricity, fuel, or gas |  | | |  | Attempt to start | | | |
| **Machine** | **Location** | | | **Type of Energy** | | **Magnitude** | | **Operating Control Location** |
| Boiler (South) | Boiler Room | | | Elec/Pneum/Therm | |  | | On/Off switch on unit |
| **Building** | | | **Isolating Device Location 1** | | | | **Isolating Device Location 2** | |
| Ellsworth Public School | | Valve on propane line  Valve on gas line | | | | Electric panel-Breaker #12 | | |
| **Method to Dissipate or Restrain** | | | |  | | **Method of Verification** | | |
| Apply lockout device to electricity, fuel, or gas |  | | |  | Attempt to start | | | |
| **Machine** | **Location** | | | **Type of Energy** | | **Magnitude** | | **Operating Control Location** |
| Air Compressor | Boiler Room | | | Elec/Pneumatic | |  | | Pressure regulator on unit |
| **Building** | | | **Isolating Device Location 1** | | | | **Isolating Device Location 2** | |
| Ellsworth Public School | | Breaker box on wall behind unit | | | | Bleed valves on unit | | |
| **Method to Dissipate or Restrain** | | | |  | | **Method of Verification** | | |
| Apply lockout device to electricity, bleed tank and lines |  | | |  | Attempt to start, verify “0” pressure on gauge | | | |
| **Machine** | **Location** | | | **Type of Energy** | | **Magnitude** | | **Operating Control Location** |
| Water Heater | Boiler Room | | | Elec/Pneum/Therm | |  | | Thermostat on unit |
| **Building** | | | **Isolating Device Location 1** | | | | **Isolating Device Location 2** | |
| Ellsworth Public School | | On/Off switch on east wall | | | | Ball valve on gas line to unit | | |
| **Method to Dissipate or Restrain** | | | |  | | **Method of Verification** | | |
| Apply lockout device to electricity and gas line, allow to cool |  | | |  | Turn thermostat up to see if it kicks in | | | |
| **Machine** | **Location** | | | **Type of Energy** | | **Magnitude** | | **Operating Control Location** |
| Circulation Pump | Boiler Room | | | Elec/Pneumatic | |  | | Breaker #5 in panel box |
| **Building** | | | **Isolating Device Location 1** | | | | **Isolating Device Location 2** | |
| Ellsworth Public School | | Valve on propane line  Valve on gas line | | | | Electric panel-Breaker #12 | | |
| **Method to Dissipate or Restrain** | | | |  | | **Method of Verification** | | |
| Apply lockout device to electricity |  | | |  | Attempt to start | | | |