**Client:** Lynd Public School

**Type of Equipment:** Dishwasher

**Energy Type and Magnitude:** Electrical/Thermal

**Number:** 1

**Locations:** Kitchen

**Lockout Steps**

**Step 1:**  Knife Switch on North wall in boiler room and Knife switch on wall behind unit in kitchen

**Step 2:** Shut down of equipment using normal shut down using control on the front of the unit

**Step 3:**  Unplug unit, apply LOTO device to gas line. Attempt to start.

**Step 4:** Authorized employees will lockout/tagout the isolating devices-

**Step 5:** Start up to verify control of energy (where-list-all)-

**Reviewed by­­­­­­­­­­­­­­­­­­­­ Shane Carlson \_Date 07-01-2019**