**Client:** Ellsworth Public School

**Machine Name:** Boiler (South)

**Location of Machine:** Boiler Room

**Energy Type:** Elec/Pneum/Therm

**Building:** High School

**Client Contact:** Mike Nolte

**Shutdown:**

**Step 1: Alert all employees that will be affected by the shut down.**

**Step 2: Shut machine down using normal shut down procedures.**

*Location & Method:*

* Turn the “ON/OFF” switch located on the unit to the “OFF” position

**Step 3: Isolate machine from all energy sources.**

*Location & Method:*

* Isolate the valve on propane line, and valve on gas line
* Turn breaker number 12 to the “OFF” position

**Step 4: Apply Lockout devices.**

*Location:*

* Apply lockout device to electricity, fuel, or gas
* Or apply lockout device to the circuit breaker you are working on.

**Step 5: Verification & Dissipation of stored energy.**

*Location & Method:*

* Attempt to start using the “ON/OFF” switch located on the unit.

**Shutdown:**

**MACHINE IS NOW LOCKED OUT**

**Start up**

**Step 1: Alert all employees of the start up**

**Step 2: Remove all Lockout devices.**

**Step 3: Restore energy to equipment.**

**Step 4: Verify restoration by starting equipment**