|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Machine** | **Location** | **Type of Energy** | **Magnitude** | **Operating Control Location** |
| Boiler | Boiler Room | Elec/Pneumatic/Thermal | 115V | On/Off switch on panel |
| **Building** | **Isolating Device Location 1** | **Isolating Device Location 2** |
| Administrative building | Breaker #3 in BR-2 panel | Ball valve on gas line to unit |
| **Method to Dissipate or Restrain** |  | **Method of Verification** |
| Apply lockout to electricity, gas line to unit |  |  | Attempt to start |

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Machine** | **Location** | **Type of Energy** | **Magnitude** | **Operating Control Location** |
| Air compressor | Boiler Room | Elec/Pneumatic | 115/230V | Pressure regulator on unit |
| **Building** | **Isolating Device Location 1** | **Isolating Device Location 2** |
| Administrative building | Breaker #2 in BR-2 panel | Bleed valves on unit |
| **Method to Dissipate or Restrain** |  | **Method of Verification** |
| Apply lockout to electricity, bleed tank and lines |  |  | Attempt to start, verify “0” pressure on gauge |

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Machine** | **Location** | **Type of Energy** | **Magnitude** | **Operating Control Location** |
| Water Heater | Boiler Room | Elec/Pneumatic/Thermal | 110V | Thermostat on unit |
| **Building** | **Isolating Device Location 1** | **Isolating Device Location 2** |
| Administrative building | N/A | Ball valve on natural gas line to unit |
| **Method to Dissipate or Restrain** |  | **Method of Verification** |
| Lockout electricity and gas line, allow to cool |  |  | Turn up thermostat, see if unit “kicks in” |

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Machine** | **Location** | **Type of Energy** | **Magnitude** | **Operating Control Location** |
|  |  |  |  |  |
| **Building** | **Isolating Device Location 1** | **Isolating Device Location 2** |
|  |  |  |
| **Method to Dissipate or Restrain** |  | **Method of Verification** |
|  |  |  |  |

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Machine** | **Location** | **Type of Energy** | **Magnitude** | **Operating Control Location** |
|  |  |  |  |  |
| **Building** | **Isolating Device Location 1** | **Isolating Device Location 2** |
|  |  |  |
| **Method to Dissipate or Restrain** |  | **Method of Verification** |
|  |  |  |  |

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Machine** | **Location** | **Type of Energy** | **Magnitude** | **Operating Control Location** |
|  |  |  |  |  |
| **Building** | **Isolating Device Location 1** | **Isolating Device Location 2** |
|  |  |  |
| **Method to Dissipate or Restrain** |  | **Method of Verification** |
|  |  |  |  |