|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Machine** | **Location** | **Type of Energy** | **Magnitude** | **Operating Control Location** |
| Washer | Custodial break room | Elec | 208/240V | Button in front of unit |
| **Building** | **Isolating Device Location 1** | **Isolating Device Location 2** |
| Middle School | Breaker #6 on panel in custodial break room | Knife switch on wall behind unit |
| **Method to Dissipate or Restrain** |  | **Method of Verification** |
|  |  |  |  |

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Machine** | **Location** | **Type of Energy** | **Magnitude** | **Operating Control Location** |
| Dryer | Custodial break room | Elec | 208/240V | Button on front of unit |
| **Building** | **Isolating Device Location 1** | **Isolating Device Location 2** |
| Middle School | Breaker #33 in LC2 in electrical room | Knife switch on wall behind unit |
| **Method to Dissipate or Restrain** |  | **Method of Verification** |
|  |  |  |  |

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Machine** | **Location** | **Type of Energy** | **Magnitude** | **Operating Control Location** |
| Water heater (large)  | Boiler Room | Elec/Therm | 115V | On/Off switch on unit |
| **Building** | **Isolating Device Location 1** | **Isolating Device Location 2** |
| Middle school |  |  |
| **Method to Dissipate or Restrain** |  | **Method of Verification** |
|  |  |  |  |

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Machine** | **Location** | **Type of Energy** | **Magnitude** | **Operating Control Location** |
| Water heater (small) | Boiler Room | Elec/Therm | 115V | On/Off switch on unit |
| **Building** | **Isolating Device Location 1** | **Isolating Device Location 2** |
| Middle School |  | Ball valve gasoline to unit |
| **Method to Dissipate or Restrain** |  | **Method of Verification** |
|  |  |  |  |

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Machine** | **Location** | **Type of Energy** | **Magnitude** | **Operating Control Location** |
| Circ. Pumps (large-2X) | Boiler room | Elec | 230/460V | On/Off switch in wall behind unit |
| **Building** | **Isolating Device Location 1** | **Isolating Device Location 2** |
| Middle School | Breakers # 6. 8 |  |
| **Method to Dissipate or Restrain** |  | **Method of Verification** |
|  |  |  |  |

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Machine** | **Location** | **Type of Energy** | **Magnitude** | **Operating Control Location** |
| Air compressor | Boiler Room | Elec/therm | 208/230/460V | On/Off switch on wall behind unit |
| **Building** | **Isolating Device Location 1** | **Isolating Device Location 2** |
| Middle School |  |  |
| **Method to Dissipate or Restrain** |  | **Method of Verification** |
|  |  |  | Attempt to start “0” on gauge |

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Machine** | **Location** | **Type of Energy** | **Magnitude** | **Operating Control Location** |
| Boiler (2X) | Boiler Room | Elec/Pneumatic/Therm | 115V | On/Off switch on unit |
| **Building** | **Isolating Device Location 1** | **Isolating Device Location 2** |
| Middle School | Breakers # 12, 14 on panel on the wall in break room |  |
| **Method to Dissipate or Restrain** |  | **Method of Verification** |
| Apply to electricity, gas and or fuel lines to unit |  |  |  |

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Machine** | **Location** | **Type of Energy** | **Magnitude** | **Operating Control Location** |
| Mixer | Kitchen | Elec |  | On/Off switch on unit |
| **Building** | **Isolating Device Location 1** | **Isolating Device Location 2** |
| Middle School | Breaker # 15 in panel behind door | Knife switch on wall behind unit |
| **Method to Dissipate or Restrain** |  | **Method of Verification** |
|  |  |  |  |

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Machine** | **Location** | **Type of Energy** | **Magnitude** | **Operating Control Location** |
| Conventional oven | Kitchen | Elec/Pneum/therm | 208V | On/Off switch on unit |
| **Building** | **Isolating Device Location 1** | **Isolating Device Location 2** |
| Middle School |  | Ball valve on gas line to unit |
| **Method to Dissipate or Restrain** |  | **Method of Verification** |
|  |  |  |  |

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Machine** | **Location** | **Type of Energy** | **Magnitude** | **Operating Control Location** |
| Garbage disposal | Kitchen | Elec |  | Knife switch on wall below unit |
| **Building** | **Isolating Device Location 1** | **Isolating Device Location 2** |
| Middle School | Breaker # 15 (LC 3 Left control panel) |  |
| **Method to Dissipate or Restrain** |  | **Method of Verification** |
|  |  |  |  |

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Machine** | **Location** | **Type of Energy** | **Magnitude** | **Operating Control Location** |
| Brazier | Kitchen |  |  | Knob on unit |
| **Building** | **Isolating Device Location 1** | **Isolating Device Location 2** |
|  |  | Gas line to unit |
| **Method to Dissipate or Restrain** |  | **Method of Verification** |
|  |  |  |  |

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Machine** | **Location** | **Type of Energy** | **Magnitude** | **Operating Control Location** |
| Walk in freezer | Kitchen | Elec |  |  |
| **Building** | **Isolating Device Location 1** | **Isolating Device Location 2** |
| Middle School | Panel behind side kitchen door |  |
| **Method to Dissipate or Restrain** |  | **Method of Verification** |
|  |  |  |  |

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Machine** | **Location** | **Type of Energy** | **Magnitude** | **Operating Control Location** |
| Walk in Cooler | Kitchen | Elec |  |  |
| **Building** | **Isolating Device Location 1** | **Isolating Device Location 2** |
| Middle School | Panel behind side kitchen door |  |
| **Method to Dissipate or Restrain** |  | **Method of Verification** |
|  |  |  |  |

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Machine** | **Location** | **Type of Energy** | **Magnitude** | **Operating Control Location** |
| Dishwasher | Kitchen | Elec |  | On/Off switch on unit |
| **Building** | **Isolating Device Location 1** | **Isolating Device Location 2** |
|  | Panel behind side kitchen door |  |
| **Method to Dissipate or Restrain** |  | **Method of Verification** |
|  |  |  |  |

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Machine** | **Location** | **Type of Energy** | **Magnitude** | **Operating Control Location** |
| Booster heater | Kitchen |  |  | On/Off switch on unit |
| **Building** | **Isolating Device Location 1** | **Isolating Device Location 2** |
|  |  |  |
| **Method to Dissipate or Restrain** |  | **Method of Verification** |
|  |  |  |  |

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Machine** | **Location** | **Type of Energy** | **Magnitude** | **Operating Control Location** |
|  |  |  |  |  |
| **Building** | **Isolating Device Location 1** | **Isolating Device Location 2** |
|  |  |  |
| **Method to Dissipate or Restrain** |  | **Method of Verification** |
|  |  |  |  |

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Machine** | **Location** | **Type of Energy** | **Magnitude** | **Operating Control Location** |
|  |  |  |  |  |
| **Building** | **Isolating Device Location 1** | **Isolating Device Location 2** |
|  |  |  |
| **Method to Dissipate or Restrain** |  | **Method of Verification** |
|  |  |  |  |

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Machine** | **Location** | **Type of Energy** | **Magnitude** | **Operating Control Location** |
|  |  |  |  |  |
| **Building** | **Isolating Device Location 1** | **Isolating Device Location 2** |
|  |  |  |
| **Method to Dissipate or Restrain** |  | **Method of Verification** |
|  |  |  |  |

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Machine** | **Location** | **Type of Energy** | **Magnitude** | **Operating Control Location** |
|  |  |  |  |  |
| **Building** | **Isolating Device Location 1** | **Isolating Device Location 2** |
|  |  |  |
| **Method to Dissipate or Restrain** |  | **Method of Verification** |
|  |  |  |  |

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Machine** | **Location** | **Type of Energy** | **Magnitude** | **Operating Control Location** |
|  |  |  |  |  |
| **Building** | **Isolating Device Location 1** | **Isolating Device Location 2** |
|  |  |  |
| **Method to Dissipate or Restrain** |  | **Method of Verification** |
|  |  |  |  |