|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Machine** | **Location** | | | **Type of Energy** | | **Magnitude** | | **Operating Control Location** |
| Washer | Custodial break room | | | Elec | | 208/240V | | Button in front of unit |
| **Building** | | | **Isolating Device Location 1** | | | | **Isolating Device Location 2** | |
| Middle School | | Breaker #6 on panel in custodial break room | | | | Knife switch on wall behind unit | | |
| **Method to Dissipate or Restrain** | | | |  | | **Method of Verification** | | |
|  |  | | |  |  | | | |

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Machine** | **Location** | | | **Type of Energy** | | **Magnitude** | | **Operating Control Location** |
| Dryer | Custodial break room | | | Elec | | 208/240V | | Button on front of unit |
| **Building** | | | **Isolating Device Location 1** | | | | **Isolating Device Location 2** | |
| Middle School | | Breaker #33 in LC2 in electrical room | | | | Knife switch on wall behind unit | | |
| **Method to Dissipate or Restrain** | | | |  | | **Method of Verification** | | |
|  |  | | |  |  | | | |

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Machine** | **Location** | | | **Type of Energy** | | **Magnitude** | | **Operating Control Location** |
| Water heater (large) | Boiler Room | | | Elec/Therm | | 115V | | On/Off switch on unit |
| **Building** | | | **Isolating Device Location 1** | | | | **Isolating Device Location 2** | |
| Middle school | |  | | | |  | | |
| **Method to Dissipate or Restrain** | | | |  | | **Method of Verification** | | |
|  |  | | |  |  | | | |

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Machine** | **Location** | | | **Type of Energy** | | **Magnitude** | | **Operating Control Location** |
| Water heater (small) | Boiler Room | | | Elec/Therm | | 115V | | On/Off switch on unit |
| **Building** | | | **Isolating Device Location 1** | | | | **Isolating Device Location 2** | |
| Middle School | |  | | | | Ball valve gasoline to unit | | |
| **Method to Dissipate or Restrain** | | | |  | | **Method of Verification** | | |
|  |  | | |  |  | | | |

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Machine** | **Location** | | | **Type of Energy** | | **Magnitude** | | **Operating Control Location** |
| Circ. Pumps (large-2X) | Boiler room | | | Elec | | 230/460V | | On/Off switch in wall behind unit |
| **Building** | | | **Isolating Device Location 1** | | | | **Isolating Device Location 2** | |
| Middle School | | Breakers # 6. 8 | | | |  | | |
| **Method to Dissipate or Restrain** | | | |  | | **Method of Verification** | | |
|  |  | | |  |  | | | |

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Machine** | **Location** | | | **Type of Energy** | | **Magnitude** | | **Operating Control Location** |
| Air compressor | Boiler Room | | | Elec/therm | | 208/230/460V | | On/Off switch on wall behind unit |
| **Building** | | | **Isolating Device Location 1** | | | | **Isolating Device Location 2** | |
| Middle School | |  | | | |  | | |
| **Method to Dissipate or Restrain** | | | |  | | **Method of Verification** | | |
|  |  | | |  | Attempt to start “0” on gauge | | | |

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Machine** | **Location** | | | **Type of Energy** | | **Magnitude** | | **Operating Control Location** |
| Boiler (2X) | Boiler Room | | | Elec/Pneumatic/Therm | | 115V | | On/Off switch on unit |
| **Building** | | | **Isolating Device Location 1** | | | | **Isolating Device Location 2** | |
| Middle School | | Breakers # 12, 14 on panel on the wall in break room | | | |  | | |
| **Method to Dissipate or Restrain** | | | |  | | **Method of Verification** | | |
| Apply to electricity, gas and or fuel lines to unit |  | | |  |  | | | |

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Machine** | **Location** | | | **Type of Energy** | | **Magnitude** | | **Operating Control Location** |
| Mixer | Kitchen | | | Elec | |  | | On/Off switch on unit |
| **Building** | | | **Isolating Device Location 1** | | | | **Isolating Device Location 2** | |
| Middle School | | Breaker # 15 in panel behind door | | | | Knife switch on wall behind unit | | |
| **Method to Dissipate or Restrain** | | | |  | | **Method of Verification** | | |
|  |  | | |  |  | | | |

|  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Machine** | **Location** | | | **Type of Energy** | | | **Magnitude** | | **Operating Control Location** |
| Conventional oven | Kitchen | | | | Elec/Pneum/therm | | 208V | | On/Off switch on unit |
| **Building** | | | **Isolating Device Location 1** | | | | | **Isolating Device Location 2** | |
| Middle School | |  | | | | | Ball valve on gas line to unit | | |
| **Method to Dissipate or Restrain** | | | |  | | | **Method of Verification** | | |
|  |  | | |  | |  | | | |

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Machine** | **Location** | | | **Type of Energy** | | **Magnitude** | | **Operating Control Location** |
| Garbage disposal | Kitchen | | | Elec | |  | | Knife switch on wall below unit |
| **Building** | | | **Isolating Device Location 1** | | | | **Isolating Device Location 2** | |
| Middle School | | Breaker # 15 (LC 3 Left control panel) | | | |  | | |
| **Method to Dissipate or Restrain** | | | |  | | **Method of Verification** | | |
|  |  | | |  |  | | | |

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Machine** | **Location** | | | **Type of Energy** | | **Magnitude** | | **Operating Control Location** |
| Brazier | Kitchen | | |  | |  | | Knob on unit |
| **Building** | | | **Isolating Device Location 1** | | | | **Isolating Device Location 2** | |
|  | |  | | | | Gas line to unit | | |
| **Method to Dissipate or Restrain** | | | |  | | **Method of Verification** | | |
|  |  | | |  |  | | | |

|  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Machine** | **Location** | | | **Type of Energy** | | | **Magnitude** | | **Operating Control Location** |
| Walk in freezer | Kitchen | | | | Elec | |  | |  |
| **Building** | | | **Isolating Device Location 1** | | | | | **Isolating Device Location 2** | |
| Middle School | | Panel behind side kitchen door | | | | |  | | |
| **Method to Dissipate or Restrain** | | | |  | | | **Method of Verification** | | |
|  |  | | |  | |  | | | |

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Machine** | **Location** | | | **Type of Energy** | | **Magnitude** | | **Operating Control Location** |
| Walk in Cooler | Kitchen | | | Elec | |  | |  |
| **Building** | | | **Isolating Device Location 1** | | | | **Isolating Device Location 2** | |
| Middle School | | Panel behind side kitchen door | | | |  | | |
| **Method to Dissipate or Restrain** | | | |  | | **Method of Verification** | | |
|  |  | | |  |  | | | |

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Machine** | **Location** | | | **Type of Energy** | | **Magnitude** | | **Operating Control Location** |
| Dishwasher | Kitchen | | | Elec | |  | | On/Off switch on unit |
| **Building** | | | **Isolating Device Location 1** | | | | **Isolating Device Location 2** | |
|  | | Panel behind side kitchen door | | | |  | | |
| **Method to Dissipate or Restrain** | | | |  | | **Method of Verification** | | |
|  |  | | |  |  | | | |

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Machine** | **Location** | | | **Type of Energy** | | **Magnitude** | | **Operating Control Location** |
| Booster heater | Kitchen | | |  | |  | | On/Off switch on unit |
| **Building** | | | **Isolating Device Location 1** | | | | **Isolating Device Location 2** | |
|  | |  | | | |  | | |
| **Method to Dissipate or Restrain** | | | |  | | **Method of Verification** | | |
|  |  | | |  |  | | | |

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Machine** | **Location** | | | **Type of Energy** | | **Magnitude** | | **Operating Control Location** |
|  |  | | |  | |  | |  |
| **Building** | | | **Isolating Device Location 1** | | | | **Isolating Device Location 2** | |
|  | |  | | | |  | | |
| **Method to Dissipate or Restrain** | | | |  | | **Method of Verification** | | |
|  |  | | |  |  | | | |

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Machine** | **Location** | | | **Type of Energy** | | **Magnitude** | | **Operating Control Location** |
|  |  | | |  | |  | |  |
| **Building** | | | **Isolating Device Location 1** | | | | **Isolating Device Location 2** | |
|  | |  | | | |  | | |
| **Method to Dissipate or Restrain** | | | |  | | **Method of Verification** | | |
|  |  | | |  |  | | | |

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Machine** | **Location** | | | **Type of Energy** | | **Magnitude** | | **Operating Control Location** |
|  |  | | |  | |  | |  |
| **Building** | | | **Isolating Device Location 1** | | | | **Isolating Device Location 2** | |
|  | |  | | | |  | | |
| **Method to Dissipate or Restrain** | | | |  | | **Method of Verification** | | |
|  |  | | |  |  | | | |

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Machine** | **Location** | | | **Type of Energy** | | **Magnitude** | | **Operating Control Location** |
|  |  | | |  | |  | |  |
| **Building** | | | **Isolating Device Location 1** | | | | **Isolating Device Location 2** | |
|  | |  | | | |  | | |
| **Method to Dissipate or Restrain** | | | |  | | **Method of Verification** | | |
|  |  | | |  |  | | | |

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Machine** | **Location** | | | **Type of Energy** | | **Magnitude** | | **Operating Control Location** |
|  |  | | |  | |  | |  |
| **Building** | | | **Isolating Device Location 1** | | | | **Isolating Device Location 2** | |
|  | |  | | | |  | | |
| **Method to Dissipate or Restrain** | | | |  | | **Method of Verification** | | |
|  |  | | |  |  | | | |