|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Machine** | **Location** | | | **Type of Energy** | | **Magnitude** | | **Operating Control Location** |
| Boilers (2X) | Boiler Room | | | Elec/Pneumatic/Therm. | | 230/460V | | On/Off switch on panel |
| **Building** | | | **Isolating Device Location 1** | | | | **Isolating Device Location 2** | |
| Park Elementary | | Breakers # 22, 24, 29 in high voltage control panel in back room | | | | Ball valve on gas line to unit | | |
| **Method to Dissipate or Restrain** | | | |  | | **Method of Verification** | | |
| Apply lockout device to electricity |  | | |  | Attempt to start | | | |

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Machine** | **Location** | | | **Type of Energy** | | **Magnitude** | | **Operating Control Location** |
| Air Compressor | Boiler Room | | | Elec/Pneumatic | | 220V | | On/Off knob on unit |
| **Building** | | | **Isolating Device Location 1** | | | | **Isolating Device Location 2** | |
| Park Elementary | |  | | | | Knife switch on wall behind unit | | |
| **Method to Dissipate or Restrain** | | | |  | | **Method of Verification** | | |
|  |  | | |  |  | | | |

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Machine** | **Location** | | | **Type of Energy** | | **Magnitude** | | **Operating Control Location** |
| Water heater (2X) | Boiler Room | | | Gas/Therm | | 220V | |  |
| **Building** | | | **Isolating Device Location 1** | | | | **Isolating Device Location 2** | |
| Park Elementary | | N/A | | | |  | | |
| **Method to Dissipate or Restrain** | | | |  | | **Method of Verification** | | |
|  |  | | |  |  | | | |

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Machine** | **Location** | | | **Type of Energy** | | **Magnitude** | | **Operating Control Location** |
| Heat pumps (3X)  16, 25, 28 | Boiler Room | | | Elec | | 220/230V | | On/Off switches on wall by unit |
| **Building** | | | **Isolating Device Location 1** | | | | **Isolating Device Location 2** | |
| Park Elementary | | Breakers (#3 for 16, #4 for 25, #5 for 28) | | | |  | | |
| **Method to Dissipate or Restrain** | | | |  | | **Method of Verification** | | |
|  |  | | |  |  | | | |

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Machine** | **Location** | | | **Type of Energy** | | **Magnitude** | | **Operating Control Location** |
| Oil Pumps |  | | |  | |  | |  |
| **Building** | | | **Isolating Device Location 1** | | | | **Isolating Device Location 2** | |
| Park Elementary | | Breaker #13 in high voltage panel in back room | | | |  | | |
| **Method to Dissipate or Restrain** | | | |  | | **Method of Verification** | | |
|  |  | | |  |  | | | |

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Machine** | **Location** | | | **Type of Energy** | | **Magnitude** | | **Operating Control Location** |
| Freezer Comp | Kitchen | | |  | |  | |  |
| **Building** | | | **Isolating Device Location 1** | | | | **Isolating Device Location 2** | |
| Park Elementary | | Breakers # 28, 30 Panel B in kitchen | | | |  | | |
| **Method to Dissipate or Restrain** | | | |  | | **Method of Verification** | | |
|  |  | | |  |  | | | |

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Machine** | **Location** | | | **Type of Energy** | | **Magnitude** | | **Operating Control Location** |
| Cooler Comp | Kitchen | | |  | |  | |  |
| **Building** | | | **Isolating Device Location 1** | | | | **Isolating Device Location 2** | |
| Park Elementary | | Breaker #32 Panel B in kitchen | | | | On/Off switch behind fan in boiler room | | |
| **Method to Dissipate or Restrain** | | | |  | | **Method of Verification** | | |
|  |  | | |  |  | | | |

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Machine** | **Location** | | | **Type of Energy** | | **Magnitude** | | **Operating Control Location** |
| Condensate Pumps (1,2,3) | Boiler Room | | |  | |  | | On/Off switch on unit |
| **Building** | | | **Isolating Device Location 1** | | | | **Isolating Device Location 2** | |
| Park Elementary | | Breaker #19 in high voltage panel | | | | Knife switch on top of unit | | |
| **Method to Dissipate or Restrain** | | | |  | | **Method of Verification** | | |
|  |  | | |  |  | | | |

|  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Machine** | **Location** | | | **Type of Energy** | | | **Magnitude** | | **Operating Control Location** |
| Dishwasher motors | Kitchen | | | | Elec | | 240V | | On/Off button on unit |
| **Building** | | | **Isolating Device Location 1** | | | | | **Isolating Device Location 2** | |
| Park Elementary | |  | | | | | On/Off switch on wall behind unit | | |
| **Method to Dissipate or Restrain** | | | |  | | | **Method of Verification** | | |
|  |  | | |  | |  | | | |

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Machine** | **Location** | | | **Type of Energy** | | **Magnitude** | | **Operating Control Location** |
| Heaters (Washer) | Kitchen | | | Elec | | 110V | |  |
| **Building** | | | **Isolating Device Location 1** | | | | **Isolating Device Location 2** | |
| Park Elementary | |  | | | | On/Off switch on wall behind unit | | |
| **Method to Dissipate or Restrain** | | | |  | | **Method of Verification** | | |
|  |  | | |  |  | | | |

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Machine** | **Location** | | | **Type of Energy** | | **Magnitude** | | **Operating Control Location** |
| Large Steam Kettle | Kitchen | | | Elec | | 240V | | Control knob on unit |
| **Building** | | | **Isolating Device Location 1** | | | | **Isolating Device Location 2** | |
| Park Elementary | | Breakers # 14, 16, 18-Panel B in kitchen | | | |  | | |
| **Method to Dissipate or Restrain** | | | |  | | **Method of Verification** | | |
|  |  | | |  |  | | | |

|  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Machine** | **Location** | | | **Type of Energy** | | | **Magnitude** | | **Operating Control Location** |
| Garbage disposal | Kitchen | | | | Elec/Pneumatic | | 240V | |  |
| **Building** | | | **Isolating Device Location 1** | | | | | **Isolating Device Location 2** | |
| Park Elementary | | Breakers # 8, 10, 12-Panel A in kitchen | | | | | On/Off button on wall behind unit | | |
| **Method to Dissipate or Restrain** | | | |  | | | **Method of Verification** | | |
|  |  | | |  | |  | | | |

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Machine** | **Location** | | | **Type of Energy** | | **Magnitude** | | **Operating Control Location** |
|  |  | | |  | |  | |  |
| **Building** | | | **Isolating Device Location 1** | | | | **Isolating Device Location 2** | |
|  | |  | | | |  | | |
| **Method to Dissipate or Restrain** | | | |  | | **Method of Verification** | | |
|  |  | | |  |  | | | |

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Machine** | **Location** | | | **Type of Energy** | | **Magnitude** | | **Operating Control Location** |
|  |  | | |  | |  | |  |
| **Building** | | | **Isolating Device Location 1** | | | | **Isolating Device Location 2** | |
|  | |  | | | |  | | |
| **Method to Dissipate or Restrain** | | | |  | | **Method of Verification** | | |
|  |  | | |  |  | | | |

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Machine** | **Location** | | | **Type of Energy** | | **Magnitude** | | **Operating Control Location** |
|  |  | | |  | |  | |  |
| **Building** | | | **Isolating Device Location 1** | | | | **Isolating Device Location 2** | |
|  | |  | | | |  | | |
| **Method to Dissipate or Restrain** | | | |  | | **Method of Verification** | | |
|  |  | | |  |  | | | |

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Machine** | **Location** | | | **Type of Energy** | | **Magnitude** | | **Operating Control Location** |
|  |  | | |  | |  | |  |
| **Building** | | | **Isolating Device Location 1** | | | | **Isolating Device Location 2** | |
|  | |  | | | |  | | |
| **Method to Dissipate or Restrain** | | | |  | | **Method of Verification** | | |
|  |  | | |  |  | | | |

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Machine** | **Location** | | | **Type of Energy** | | **Magnitude** | | **Operating Control Location** |
|  |  | | |  | |  | |  |
| **Building** | | | **Isolating Device Location 1** | | | | **Isolating Device Location 2** | |
|  | |  | | | |  | | |
| **Method to Dissipate or Restrain** | | | |  | | **Method of Verification** | | |
|  |  | | |  |  | | | |

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Machine** | **Location** | | | **Type of Energy** | | **Magnitude** | | **Operating Control Location** |
|  |  | | |  | |  | |  |
| **Building** | | | **Isolating Device Location 1** | | | | **Isolating Device Location 2** | |
|  | |  | | | |  | | |
| **Method to Dissipate or Restrain** | | | |  | | **Method of Verification** | | |
|  |  | | |  |  | | | |