|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Machine** | **Location** | **Type of Energy** | **Magnitude** | **Operating Control Location** |
| Boilers (2X) | Boiler Room | Elec/Pneumatic/Therm. | 230/460V | On/Off switch on panel |
| **Building** | **Isolating Device Location 1** | **Isolating Device Location 2** |
| Park Elementary | Breakers # 22, 24, 29 in high voltage control panel in back room | Ball valve on gas line to unit |
| **Method to Dissipate or Restrain** |  | **Method of Verification** |
| Apply lockout device to electricity |  |  | Attempt to start |

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Machine** | **Location** | **Type of Energy** | **Magnitude** | **Operating Control Location** |
| Air Compressor | Boiler Room | Elec/Pneumatic | 220V | On/Off knob on unit |
| **Building** | **Isolating Device Location 1** | **Isolating Device Location 2** |
| Park Elementary |  | Knife switch on wall behind unit |
| **Method to Dissipate or Restrain** |  | **Method of Verification** |
|  |  |  |  |

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Machine** | **Location** | **Type of Energy** | **Magnitude** | **Operating Control Location** |
| Water heater (2X) | Boiler Room | Gas/Therm | 220V |  |
| **Building** | **Isolating Device Location 1** | **Isolating Device Location 2** |
| Park Elementary | N/A |  |
| **Method to Dissipate or Restrain** |  | **Method of Verification** |
|  |  |  |  |

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Machine** | **Location** | **Type of Energy** | **Magnitude** | **Operating Control Location** |
| Heat pumps (3X)16, 25, 28 | Boiler Room | Elec | 220/230V | On/Off switches on wall by unit |
| **Building** | **Isolating Device Location 1** | **Isolating Device Location 2** |
| Park Elementary | Breakers (#3 for 16, #4 for 25, #5 for 28) |  |
| **Method to Dissipate or Restrain** |  | **Method of Verification** |
|  |  |  |  |

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Machine** | **Location** | **Type of Energy** | **Magnitude** | **Operating Control Location** |
| Oil Pumps |  |  |  |  |
| **Building** | **Isolating Device Location 1** | **Isolating Device Location 2** |
| Park Elementary | Breaker #13 in high voltage panel in back room |  |
| **Method to Dissipate or Restrain** |  | **Method of Verification** |
|  |  |  |  |

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Machine** | **Location** | **Type of Energy** | **Magnitude** | **Operating Control Location** |
| Freezer Comp | Kitchen |  |  |  |
| **Building** | **Isolating Device Location 1** | **Isolating Device Location 2** |
| Park Elementary | Breakers # 28, 30 Panel B in kitchen |  |
| **Method to Dissipate or Restrain** |  | **Method of Verification** |
|  |  |  |  |

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Machine** | **Location** | **Type of Energy** | **Magnitude** | **Operating Control Location** |
| Cooler Comp | Kitchen |  |  |  |
| **Building** | **Isolating Device Location 1** | **Isolating Device Location 2** |
| Park Elementary | Breaker #32 Panel B in kitchen | On/Off switch behind fan in boiler room |
| **Method to Dissipate or Restrain** |  | **Method of Verification** |
|  |  |  |  |

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Machine** | **Location** | **Type of Energy** | **Magnitude** | **Operating Control Location** |
| Condensate Pumps (1,2,3) | Boiler Room |  |  | On/Off switch on unit |
| **Building** | **Isolating Device Location 1** | **Isolating Device Location 2** |
| Park Elementary | Breaker #19 in high voltage panel | Knife switch on top of unit |
| **Method to Dissipate or Restrain** |  | **Method of Verification** |
|  |  |  |  |

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Machine** | **Location** | **Type of Energy** | **Magnitude** | **Operating Control Location** |
| Dishwasher motors | Kitchen | Elec | 240V | On/Off button on unit |
| **Building** | **Isolating Device Location 1** | **Isolating Device Location 2** |
| Park Elementary |  | On/Off switch on wall behind unit |
| **Method to Dissipate or Restrain** |  | **Method of Verification** |
|  |  |  |  |

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Machine** | **Location** | **Type of Energy** | **Magnitude** | **Operating Control Location** |
| Heaters (Washer) | Kitchen | Elec | 110V |  |
| **Building** | **Isolating Device Location 1** | **Isolating Device Location 2** |
| Park Elementary |  | On/Off switch on wall behind unit |
| **Method to Dissipate or Restrain** |  | **Method of Verification** |
|  |  |  |  |

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Machine** | **Location** | **Type of Energy** | **Magnitude** | **Operating Control Location** |
| Large Steam Kettle | Kitchen | Elec | 240V | Control knob on unit |
| **Building** | **Isolating Device Location 1** | **Isolating Device Location 2** |
| Park Elementary | Breakers # 14, 16, 18-Panel B in kitchen |  |
| **Method to Dissipate or Restrain** |  | **Method of Verification** |
|  |  |  |  |

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Machine** | **Location** | **Type of Energy** | **Magnitude** | **Operating Control Location** |
| Garbage disposal | Kitchen | Elec/Pneumatic | 240V |  |
| **Building** | **Isolating Device Location 1** | **Isolating Device Location 2** |
| Park Elementary | Breakers # 8, 10, 12-Panel A in kitchen | On/Off button on wall behind unit |
| **Method to Dissipate or Restrain** |  | **Method of Verification** |
|  |  |  |  |

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Machine** | **Location** | **Type of Energy** | **Magnitude** | **Operating Control Location** |
|  |  |  |  |  |
| **Building** | **Isolating Device Location 1** | **Isolating Device Location 2** |
|  |  |  |
| **Method to Dissipate or Restrain** |  | **Method of Verification** |
|  |  |  |  |

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Machine** | **Location** | **Type of Energy** | **Magnitude** | **Operating Control Location** |
|  |  |  |  |  |
| **Building** | **Isolating Device Location 1** | **Isolating Device Location 2** |
|  |  |  |
| **Method to Dissipate or Restrain** |  | **Method of Verification** |
|  |  |  |  |

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Machine** | **Location** | **Type of Energy** | **Magnitude** | **Operating Control Location** |
|  |  |  |  |  |
| **Building** | **Isolating Device Location 1** | **Isolating Device Location 2** |
|  |  |  |
| **Method to Dissipate or Restrain** |  | **Method of Verification** |
|  |  |  |  |

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Machine** | **Location** | **Type of Energy** | **Magnitude** | **Operating Control Location** |
|  |  |  |  |  |
| **Building** | **Isolating Device Location 1** | **Isolating Device Location 2** |
|  |  |  |
| **Method to Dissipate or Restrain** |  | **Method of Verification** |
|  |  |  |  |

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Machine** | **Location** | **Type of Energy** | **Magnitude** | **Operating Control Location** |
|  |  |  |  |  |
| **Building** | **Isolating Device Location 1** | **Isolating Device Location 2** |
|  |  |  |
| **Method to Dissipate or Restrain** |  | **Method of Verification** |
|  |  |  |  |

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Machine** | **Location** | **Type of Energy** | **Magnitude** | **Operating Control Location** |
|  |  |  |  |  |
| **Building** | **Isolating Device Location 1** | **Isolating Device Location 2** |
|  |  |  |
| **Method to Dissipate or Restrain** |  | **Method of Verification** |
|  |  |  |  |