|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Machine** | **Location** | **Type of Energy** | **Magnitude** | **Operating Control Location** |
| Boilers (2x) | Boiler Room | Elec/Therm/Hydro | 208/230V | On/Off switch on front panel |
| **Building** | **Isolating Device Location 1** | **Isolating Device Location 2** |
| West Elem | Breaker #1-No# 2 boilerBreaker #3-No # 1 broiler in MP-1 panel | Gas line to unit (ball valve) |
| **Method to Dissipate or Restrain** |  | **Method of Verification** |
| Apply LOTO device to electricity, gas line to unit |  |  | Attempt to start |

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Machine** | **Location** | **Type of Energy** | **Magnitude** | **Operating Control Location** |
| Water Heater | Boiler Room | Elec/Hydro/Therm |  | Knob on unit |
| **Building** | **Isolating Device Location 1** | **Isolating Device Location 2** |
| West Elem | Gasline supplying unit | N/A |
| **Method to Dissipate or Restrain** |  | **Method of Verification** |
| Apply LOTO device on gasline, supplying unit |  |  |  |

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Machine** | **Location** | **Type of Energy** | **Magnitude** | **Operating Control Location** |
| Air compressor | Boiler Room | Elec/Pneumatic | 208/230V |  |
| **Building** | **Isolating Device Location 1** | **Isolating Device Location 2** |
| West Elem | Breaker #10 in MP-1 panel |  |
| **Method to Dissipate or Restrain** |  | **Method of Verification** |
|  |  |  |  |

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Machine** | **Location** | **Type of Energy** | **Magnitude** | **Operating Control Location** |
| Circulation Pump (2x) | Boiler Room | Elec/Hydro | 230/460V | On/Off knob behind units on wall |
| **Building** | **Isolating Device Location 1** | **Isolating Device Location 2** |
| West Elem | Breakers 6 & 8 in MP-1 panel | On/off lever on wall behind unit |
| **Method to Dissipate or Restrain** |  | **Method of Verification** |
| Apply LOTO to electricity to unit |  |  | Attempt to start |

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Machine** | **Location** | **Type of Energy** | **Magnitude** | **Operating Control Location** |
| Cooler Compressor | Kitchen | Elec/Pneumatic/Chem | 208V | Knife switch on unit |
| **Building** | **Isolating Device Location 1** | **Isolating Device Location 2** |
| West Elem | Breakers # in hallway leading to kitchen |  |
| **Method to Dissipate or Restrain** |  | **Method of Verification** |
| Recapture Freon this process also relieves pneumatic pressure |  |  |  |

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Machine** | **Location** | **Type of Energy** | **Magnitude** | **Operating Control Location** |
| Freezer Compressor (2X) | Kitchen & Back room | Elec/Pneumatic | 208V | Knife switch on side of the unit (back room)Knife switch in custodial area hallway |
| **Building** | **Isolating Device Location 1** | **Isolating Device Location 2** |
| West Elem | Panel in back kitchen-Breakers #18, 20 |  |
| **Method to Dissipate or Restrain** |  | **Method of Verification** |
|  |  |  |  |

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Machine** | **Location** | **Type of Energy** | **Magnitude** | **Operating Control Location** |
|  |  |  |  |  |
| **Building** | **Isolating Device Location 1** | **Isolating Device Location 2** |
|  |  |  |
| **Method to Dissipate or Restrain** |  | **Method of Verification** |
|  |  |  |  |

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Machine** | **Location** | **Type of Energy** | **Magnitude** | **Operating Control Location** |
|  |  |  |  |  |
| **Building** | **Isolating Device Location 1** | **Isolating Device Location 2** |
|  |  |  |
| **Method to Dissipate or Restrain** |  | **Method of Verification** |
|  |  |  |  |

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Machine** | **Location** | **Type of Energy** | **Magnitude** | **Operating Control Location** |
|  |  |  |  |  |
| **Building** | **Isolating Device Location 1** | **Isolating Device Location 2** |
|  |  |  |
| **Method to Dissipate or Restrain** |  | **Method of Verification** |
|  |  |  |  |

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Machine** | **Location** | **Type of Energy** | **Magnitude** | **Operating Control Location** |
|  |  |  |  |  |
| **Building** | **Isolating Device Location 1** | **Isolating Device Location 2** |
|  |  |  |
| **Method to Dissipate or Restrain** |  | **Method of Verification** |
|  |  |  |  |

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Machine** | **Location** | **Type of Energy** | **Magnitude** | **Operating Control Location** |
|  |  |  |  |  |
| **Building** | **Isolating Device Location 1** | **Isolating Device Location 2** |
|  |  |  |
| **Method to Dissipate or Restrain** |  | **Method of Verification** |
|  |  |  |  |

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Machine** | **Location** | **Type of Energy** | **Magnitude** | **Operating Control Location** |
|  |  |  |  |  |
| **Building** | **Isolating Device Location 1** | **Isolating Device Location 2** |
|  |  |  |
| **Method to Dissipate or Restrain** |  | **Method of Verification** |
|  |  |  |  |