|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Machine** | **Location** | | | **Type of Energy** | | **Magnitude** | | **Operating Control Location** |
| Boilers (2x) | Boiler Room | | | Elec/Therm/Hydro | | 208/230V | | On/Off switch on front panel |
| **Building** | | | **Isolating Device Location 1** | | | | **Isolating Device Location 2** | |
| West Elem | | Breaker #1-No# 2 boiler  Breaker #3-No # 1 broiler in MP-1 panel | | | | Gas line to unit (ball valve) | | |
| **Method to Dissipate or Restrain** | | | |  | | **Method of Verification** | | |
| Apply LOTO device to electricity, gas line to unit |  | | |  | Attempt to start | | | |

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Machine** | **Location** | | | **Type of Energy** | | **Magnitude** | | **Operating Control Location** |
| Water Heater | Boiler Room | | | Elec/Hydro/Therm | |  | | Knob on unit |
| **Building** | | | **Isolating Device Location 1** | | | | **Isolating Device Location 2** | |
| West Elem | | Gasline supplying unit | | | | N/A | | |
| **Method to Dissipate or Restrain** | | | |  | | **Method of Verification** | | |
| Apply LOTO device on gasline, supplying unit |  | | |  |  | | | |

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Machine** | **Location** | | | **Type of Energy** | | **Magnitude** | | **Operating Control Location** |
| Air compressor | Boiler Room | | | Elec/Pneumatic | | 208/230V | |  |
| **Building** | | | **Isolating Device Location 1** | | | | **Isolating Device Location 2** | |
| West Elem | | Breaker #10 in MP-1 panel | | | |  | | |
| **Method to Dissipate or Restrain** | | | |  | | **Method of Verification** | | |
|  |  | | |  |  | | | |

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Machine** | **Location** | | | **Type of Energy** | | **Magnitude** | | **Operating Control Location** |
| Circulation Pump (2x) | Boiler Room | | | Elec/Hydro | | 230/460V | | On/Off knob behind units on wall |
| **Building** | | | **Isolating Device Location 1** | | | | **Isolating Device Location 2** | |
| West Elem | | Breakers 6 & 8 in MP-1 panel | | | | On/off lever on wall behind unit | | |
| **Method to Dissipate or Restrain** | | | |  | | **Method of Verification** | | |
| Apply LOTO to electricity to unit |  | | |  | Attempt to start | | | |

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Machine** | **Location** | | | **Type of Energy** | | **Magnitude** | | **Operating Control Location** |
| Cooler Compressor | Kitchen | | | Elec/Pneumatic/Chem | | 208V | | Knife switch on unit |
| **Building** | | | **Isolating Device Location 1** | | | | **Isolating Device Location 2** | |
| West Elem | | Breakers # in hallway leading to kitchen | | | |  | | |
| **Method to Dissipate or Restrain** | | | |  | | **Method of Verification** | | |
| Recapture Freon this process also relieves pneumatic pressure |  | | |  |  | | | |

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Machine** | **Location** | | | **Type of Energy** | | **Magnitude** | | **Operating Control Location** |
| Freezer Compressor (2X) | Kitchen & Back room | | | Elec/Pneumatic | | 208V | | Knife switch on side of the unit (back room)  Knife switch in custodial area hallway |
| **Building** | | | **Isolating Device Location 1** | | | | **Isolating Device Location 2** | |
| West Elem | | Panel in back kitchen-Breakers #18, 20 | | | |  | | |
| **Method to Dissipate or Restrain** | | | |  | | **Method of Verification** | | |
|  |  | | |  |  | | | |

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Machine** | **Location** | | | **Type of Energy** | | **Magnitude** | | **Operating Control Location** |
|  |  | | |  | |  | |  |
| **Building** | | | **Isolating Device Location 1** | | | | **Isolating Device Location 2** | |
|  | |  | | | |  | | |
| **Method to Dissipate or Restrain** | | | |  | | **Method of Verification** | | |
|  |  | | |  |  | | | |

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Machine** | **Location** | | | **Type of Energy** | | **Magnitude** | | **Operating Control Location** |
|  |  | | |  | |  | |  |
| **Building** | | | **Isolating Device Location 1** | | | | **Isolating Device Location 2** | |
|  | |  | | | |  | | |
| **Method to Dissipate or Restrain** | | | |  | | **Method of Verification** | | |
|  |  | | |  |  | | | |

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Machine** | **Location** | | | **Type of Energy** | | **Magnitude** | | **Operating Control Location** |
|  |  | | |  | |  | |  |
| **Building** | | | **Isolating Device Location 1** | | | | **Isolating Device Location 2** | |
|  | |  | | | |  | | |
| **Method to Dissipate or Restrain** | | | |  | | **Method of Verification** | | |
|  |  | | |  |  | | | |

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Machine** | **Location** | | | **Type of Energy** | | **Magnitude** | | **Operating Control Location** |
|  |  | | |  | |  | |  |
| **Building** | | | **Isolating Device Location 1** | | | | **Isolating Device Location 2** | |
|  | |  | | | |  | | |
| **Method to Dissipate or Restrain** | | | |  | | **Method of Verification** | | |
|  |  | | |  |  | | | |

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Machine** | **Location** | | | **Type of Energy** | | **Magnitude** | | **Operating Control Location** |
|  |  | | |  | |  | |  |
| **Building** | | | **Isolating Device Location 1** | | | | **Isolating Device Location 2** | |
|  | |  | | | |  | | |
| **Method to Dissipate or Restrain** | | | |  | | **Method of Verification** | | |
|  |  | | |  |  | | | |

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Machine** | **Location** | | | **Type of Energy** | | **Magnitude** | | **Operating Control Location** |
|  |  | | |  | |  | |  |
| **Building** | | | **Isolating Device Location 1** | | | | **Isolating Device Location 2** | |
|  | |  | | | |  | | |
| **Method to Dissipate or Restrain** | | | |  | | **Method of Verification** | | |
|  |  | | |  |  | | | |